## README
7-10-17: README
In response to Region M's request from last meeting (2/8/2017) to obtain a list of projects funded by the TWDB for entities within Region M, this is a report download from the TWDB projects database filtered on Region M. It provides the name of the project's responsible entity, the TWDB project number, the project's total funding amount, the most recent commitment date, the project status, and the project description. This list includes all projects, water and wastewater, from all TWDB funding programs.
This is a snapshot in time of the TWDB projects as of July 7, 2017. These projects are monitored by TWDB's project develoment team #6 that is managed by Mireya Loewe. Below is her contact information should you have any questions regarding these specific Region M-based projects: mireya.loewe@twdb.texas.gov; 512-475-0590. Thanks, Connie Townsend

## 13323_ProjectFundingInfo_RegM
Project Funding Information by Region
Regional Planning Group | TWDB Finance Team | Responsible Authority | Project Number | Total Funding Amount | Last Commitment Date | Project Status | Project Description
M | 6 | Agua SUD | 10365 | 47004293.4 | 2015-03-26 | Active | Project Description: This is the first phase of a multi-phase wastewater system to provide first-time wastewater service to the entire Eastern area. The planning and design of the collection system for the entire Eastern area were completed with previous funding. Due to funding limitations, the first phase will provide first-time wastewater services to approximately 1,752 homes within the City of Palmview (the project area). The proposed first-phase collection system includes the construction of gravity sewer lines, lift stations, and force main lines. In addition, the project includes planning, acquisition, design, and construction of a conveyance system to transport the flows from the project area and treat them at the City of Mission’s (City) existing wastewater treatment plant (WWTP). The conveyance system will include a lift station, a transmission force main line, pump controls, and other necessary equipment. Through an inter-local agreement, the District will contribute $3.5 million to the City’s WWTP expansion project and obtain one million gallons per day (MGD) of treatment capacity at the City’s WWTP.
M | 6 | Agua SUD | 10370 | 25767174.2 | 2010-04-22 | Completed | Western Wastewater System: Construct a wastewater collection system and a 1.4 MGD sequential batch reactor treatment plant to provide first time service to the western portion of the District's water service area, which includes areas in and around the City of Sullivan City and the unincorporated communities of Cuevitas and Los Ebanos in far western Hidalgo County. The collection system includes 139,900 feet of 4 through 30-inch diameter gravity sewer line, seven lift stations, and 30,000 feet of 4 through 20-inch force main. The system will initially serve 1,824 water connections, 1,757 of which were EDAP-eligible. Funds from the Texas Water Development Fund provided service for 65 commercial connections and two schools that were not eligible for EDAP.
M | 6 | Agua SUD | 21562 | 11415000 | 2007-12-04 | Completed | Water treament plant expansion: Expand water production at the SUD's two surface water treatment plants. Repair the clarifier mechanism on treatment train #1 at the Havana SWTP to bring the unit back into service and increase capacity by 1.0 MGD. Add a 6.0 MGD treatment unit at the FM 492 SWTP. Also add two high service pumps at the Havana SWTP. The system had been under continuous enforcement by TCEQ for fifteen years for a variety of concerns including insufficient production capacity.
M | 6 | Agua SUD | 21580 | 1000000 | 2006-12-12 | Completed | Construct a 500,000 gallon elevated storage tank at Mile 7 Road and Salida del Sol Road and connect the tank to an 8-inch water line on the wouth side of FM 2221. The project was specifically mandated by court order. The system did not have sufficient elevated storage capacity, and did not have adequate pressure maintenance facilities in the vicinity of the tank.
M | 6 | Agua SUD | 21622 | 6238500 | 2012-03-01 | Active | The project is a series of improvements to upgrade operational capabilities and improve service to a growing customer base. The project includes: construction of a new 500,000 gallon elevated storage tank on the west side of Doffing Road one mile north of Mile 7 Road; replacement of 25,000 feet of 1 and 2-inch line with 6-inch line, and 5,000 feet of 6-inch with 10-inch line; development of an asset management system and prepare a capital improvement plan; construction of a new 10,600 foot 24-inch water supply line from Hidalgo Co Irrigation District 1 to replace a costly take or pay contract with Irrigation District 6 and eliminate water loss due to canal seepage and evaporation; aquisition of a new plant site for the northern part of the service area and of additional water rights.
M | 6 | Agua SUD | 61380 | 3967000 | 2007-03-27 | Active | Project Description: The project consists of construction of a 500,000 gallon elevated storage tank on Pinto Road north of Sullivan City and installation of 34,560 feet of distribution line, 10,100 feet of which will replace substandard lines. The improvements will increase system capacity, address pressure issues, and improve circulation.
M | 6 | Agua SUD | 62632 | 3565000 | 2014-02-20 | Active | Project Description: The proposed funding will be utilized for planning, acquisition of land and easement, design, and construction of an intake structure at the Rio Grande River, a raw water pump station, and construction of approximately 11,000 linear feet of 24-inch PVC water transmission lines to convey water from the river to the Havana water treatment plant.
M | 6 | Agua SUD - City of Palmview | 10031 | 31507565.06 | 2001-12-12 | Completed | Funds were used to plan, design, and acquire easements for a new wastewater collection and treatment system to serve eastern portions of the Corporation's water service area. It included the City of Palmview and the unincorporated communities of Abrams, Chihuahua, Citrus City, and Perezville. Plans included a 5.20 MGD wastewater treatment plant, 596,600 feet of gravity lines, 37,000 feet of force main, and thirteen lift stations. The WSC went into receivership and its assets and projects were acquired by the Agua Special Utility District.
M | 6 | Alamo | 10030 | 24000 | 1992-10-06 | Completed | Facilities planning for a collection system and interceptor to provide first time wastewater service for South Tower Estates with treatment provided by the City of Alamo. The service area and project were adopted by Military Highway WSC. See project 10284.
M | 6 | Alamo | 10406 | 5139000 | 2011-12-15 | Completed | The City of Alamo (City) is requesting financial assistance in the amount of $4,679,000 from the Texas Water Development Board (TWDB) through the Economically Distressed Areas Program (EDAP) for the construction of a wastewater collection system to serve five economically distressed areas within the City's extra territorial jurisdiction (ETJ). Funding provided by the Board will be in the form of a $4,400,000 EDAP grant and a $279,000 loan from the EDAP program. The project will provide first time wastewater service for an estimated 315 residences in the areas known as Guadalupe, Campo Alto, Salazar, Rancho Escondido, and Val-Bar. The project consists of 6 and 10-inch gravity lines, 8 and 10-inch force mains, rehabilitation to a lift station and construction of a new lift station.
M | 6 | Alamo | 20820 | 290000 | 1974-09-16 | Completed | TWDB funds, with a $255,600 EDA grant and $180,000 in City bond funds were used to construct a surface water treatment plant and add water distribution facilities.
M | 6 | Alamo | 72138 | 10160000 | 2006-11-14 | Completed | Construct relief interceptors and lift stations to eliminate overflows and improve service in the City’s wastewater collection system. Construct 9,130 feet of 18 and 24-inch diameter interceptor on South Tower Road leading to the wastewater treatment plant, construct a new lift station on El Gato Road, and rehabilitate the lift station on Duranta Drive. The project is part of a multi-year effort to eliminate overflows, reduce infiltration and inflow, and replace obsolete infrastructure.
M | 6 | Alamo | 73738 | 1000000 | 2016-11-02 | Active | The project includes planning and design for the development of a new 2.5 million gallons per day mechanical sewer plant to replace an existing outdated lagoon system. The new plant will be constructed on the site of the City's current lagoon system, and the existing lagoons will be filled and abandoned.
M | 6 | Alton | 10025 | 12544823 | 1997-05-15 | Completed | Construct a wastewater collection system to provide first time service to the City in a grid bounded by Shary and Inspiration Roads on the east and west, and Mile 6 and Mile 4 Roads on the north and south. Also construct conveyance lines and expand the City of McAllen's North WWTP from 4 to 6 MGD. The project included of 160,000 feet of 8 to 18-inch gravity line, 2 lift stations, and 2,640 feet of force main. The system is connected to McAllen with 8,700 feet of 21-inch and 10,000 feet of 36-inch interceptor line. Companion projects by McAllen oversized the interceptor and expanded the plant to 8 MGD. U.S. Department of Agriculture Rural Development funds were used to plumb and connect residences to the system.
M | 6 | Alton | 10233 | 46181 | 1996-07-18 | Completed | Facilities planning to expand the wastewater collection system constructed under TWDB project #10025 to 14 nearby subdivisions.
M | 6 | Alton | 73600 | 9595000 | 2011-03-17 | Completed | Project Description: The project includes the construction of approximately 24,900 feet (ft) of 8-inch sewer line; 11,000 ft of 10-inch sewer line; 2,600 ft of 21-inch trunk sewer line; 11,800 ft of 24-inch trunk sewer line; upgrading an existing lift station (on Inspiration Blvd. and Mile 5 Rd.); 129 manholes and all related appurtenances. The sewage collected by this proposed project will ultimately be treated by McAllen Public Utilities at their regional wastewater treatment plant.
M | 6 | Alton | 73747 | 500000 | 2017-01-26 | Active | The City is requesting planning funds to prepare a master drainage study to identify needed stormwater system improvements and to develop a stormwater system capital improvements program and a wastewater and stormwater systems asset management plan.
M | 6 | Arroyo WSC | 21404 | 400379 | 2000-10-18 | Completed | An emergency water interconnection with East Rio Hondo WSC. Approximately 55,000 feet of 8-inch water line, a master meter, a meter vault, gate valves, flush valves, and miscellaneous fittings. The line will connect with the ERHWSC on FM 106, run 39,000 feet along FM 1847, then 16,000 feet east on FM 2925 to Arroyo's ground storage tank. The project is the result of an evaluation of short term alternatives by the Rio Grande Regional Water Planning Group and the Water Development Board during the 1998 drought. The Arroyo water system was particularly at risk because it receives water from an irrigation district, and may run out of water when irrigation supplies are exhausted. Arroyo WSC merged with East Rio Hondo WSC in 2003.
M | 6 | Brownsville | 01155 | 17549210 | 1981-09-25 | Completed | Renovate and convert the City's South WWTP to a 7.6 MGD conventional activated sludge facility, and construct a new outfall line. Also construct a 3.2 MGD WWTP on Robindale Road and interceptor lines to divert a portion of the City's flow from the South WWTP. Infiltration/inflow correction and major sewer rehabilitation.
M | 6 | Brownsville | 01801 | 3209643 | 1987-09-25 | Completed | Replace 10 lift stations, repair and remodel 4 lift stations, and construct 10 new lift stations with associated force main and gravity sewer. The project served to rehabilitate the existing collection system, route flow from the City's South WWTP to the Robindale WWTP, and provide capacity for service to unsewered areas.
M | 6 | Brownsville | 10014 | 6565251 | 1993-07-15 | Completed | Improve water service and provide first time wastewater service for the Cameron Park subdivision north of Brownsville. Military Highway WSC provided water to the northern portion of Cameron Park, Brownsville PUB the south-central portion, and the southern quarter was un-served. Funding enabled the City to purchase the MHWSC system and enlarge and upgrade facilities with 55,000 feet of 6 to 16-inch diameter pipe, valves, fire hydrants, service connections, and appurtenances. Inadequate septic tanks (typical lot size is 1/6 acre) and outdoor privies were replaced with a centralized collection system. The system included 61,000 feet of 8 to 18-inch line. Flow is treated at Brownsville's Robindale WWTP.
M | 6 | Brownsville | 10015 | 386102.66 | 1992-08-20 | Completed | Construct a wastewater collection system to provide first time service for the Hacienda Gardens colonia north of the City. Facilities included 6,100 feet of 8 to 12-inch line and 62 single and double service connections. Flow is pumped by the Hacienda Gardens Lift Station (TWDB project #01801) for treatment at Brownsville's Robindale WWTP. The subdivision was subsequently annexed.
M | 6 | Brownsville | 10344 | 26749475.98 | 2012-04-19 | Active | Project Description: The City, through the Brownsville Public Utilities Board, is requesting EDAP funding for the construction phase of a first-time municipal wastewater system to serve an estimated 3,605 residents in the FM511-802 project target area. The project area is approximately 6.5 miles east-northeast of downtown Brownsville and lies within the extra-territorial jurisdiction of the City.
M | 6 | Brownsville | 10378 | 1877883.97 | 2012-06-21 | Completed | Project Description: The BPUB is requesting EDAP funding for the construction phase of a first-time municipal wastewater service to serve an estimated 283 residents in the Villanueva project area. Villanueva is within the City of Brownsville's ETJ.
M | 6 | Brownsville | 21159 | 42755000 | 2005-06-14 | Completed | Southside WWTP expansion & upgrade: Expand and upgrade the City's Southside WWTP from 7.8 to 12.8 MGD and secondary (20/20) to advanced (10/15/3) treatment levels. Expand peak capacity to 38.4 MGD. Construct two new aeration basins, two new final clarifiers, a new re-aeration basin, two new aerobic digesters, a new chlorine storage and supply building, and a new administration office. Expand the existing chlorine contact basin, effluent re-aeration basin, and laboratory. Rehabilitate an existing clarifier to serve as a sludge thickening basin. Also construct a new effluent pump station and 30-inch diameter force main parallel to the existing 36-inch discharge line, stabilize the river bank, and construct a headwall at the Rio Grande River outfall. Trickling filters, clarifiers, and sludge beds were abandoned and demolished. The original $24 million CWSRF commitment was refunded through the CWSRF in 2005.
M | 6 | Brownsville ID | 21464 | 205000 | 2002-09-18 | Completed | Prepare a water and energy conservation feasibility study for the District's canal system. The study focused on replacing 12,000 feet of open canal with low-head pressure pipe. Replacing the open canal would help eliminate leakage and evaporation, reduce maintenance and operating costs, and enhance safety in this very urban district. The District was created in 1919 and provides irrigation to 20,204 acres in southern Cameron County. Funds were made available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | Brownsville PUB | 72495 | 46140492 | 2009-10-15 | Completed | Sanitary sewer overflow projects: A series of projects to combat serious and widespread sanitary sewer overflow problems. The wastewater system includes 166 lift stations, 88 miles of force main, and 496 miles of gravity sewer. Much of the system is old. Vitrified clay and asbestos cement lines are prevalent; many are crushed or severely damaged. Portions of the system have reverse grades, creating odor problems and plugging, exacerbating problems during storm events. Many of the lift stations are old with deteriorating, inadequately sized wet wells. Projects will replace and upgrade gravity lines, upgrade and reroute force mains, and rehabilitate and replace lift stations. A number of projects will also serve to reroute flow from the North (Robindale) WWTP to the South WWTP.
M | 6 | Cameron Co ID # 2 | 21439 | 527324 | 2001-09-19 | Completed | A water and energy conservation feasibility study for the District's river pumping plant, constructed in 1916, and for the District's canal system. The canal survey will identify reaches where lining or pipeline installation may be cost effective. The District contracted with the Bureau of Reclamation for the study, who in turn worked with Texas A&M to analyze potential energy savings. Funds were made available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account. The study provides the documentation necessary to meet federal grant fund requirements (with a 50% local match requirement) for construction of water infrastructure improvements pursuant to the "Lower Rio Grande Valley Water Resources and Conservation and Improvement Act of 2000".
M | 6 | Cameron County | 10073 | 600000 | 1994-04-21 | Completed | Prepare preliminary plans for improved water and wastewater service in 13 rural subdivisions. Plans led to at least one construction project, wastewater service for Rangerville Estates provided by the Military Highway WSC and funded by the U.S. Department of Agriculture – Rural Development.
M | 6 | City of Brownsville | 10063 | 4575315 | 2002-02-20 | Completed | Valle Hermosa & Valle Escondido: Provide first time wastewater service to 390 homes in the Valle Hermoso, Valle Escondido, and El Salado subdivisions; along Alabama, Alaska, Arkansas and Southmost Roads; and along Browne, Maine and Oklahoma Avenues southeast of the City. The project includes two lift stations, 27,700 feet of 8 to 12-inch gravity line, 6,800 feet of force main, and 91 fiberglass manholes. Flow will be treated at the Brownsville's Southside WWTP. The planning phase was initiated by Cameron County. TWDB increased grant and loan commitments on November 14, 2006 to cover higher than expected construction costs. The project has three grants totalling $1,309,402 from the Office of Rural Community Affairs (ORCA); the City is contributing $462,196.
M | 6 | Combes | 01646 | 7805 | 1981-05-15 | Completed | Facilities planning under the federal Construction Grants Program for a new wastewater system to replace individual septic systems.
M | 6 | Combes | 10246 | 11778363.61 | 2004-04-21 | Completed | Construct a 200,000 gallon elevated storage tank and 6,430 feet of 8-inch water line to extend water service to the Stardust and Lasana subdivisions. Construct a wastewater collection system to provide first time service to the Town and the subdivisions, and conveyance facilities for treatment by the City of Harlingen. The collection system consists of 81,000 feet of 8 to 18-inch gravity sewer, lift stations, and 23,000 feet of force main. The conveyance system, which is shared by the City of Primera (TWDB project 10250) includes two lift stations and 46,000 feet of 16-inch force main. Funds to connect residents to the water and wastewater systems were provided by the North American Development Bank.
M | 6 | Del Mar CD | 20916 | 812000 | 1978-09-12 | Completed | Construct a 0.32 MGD oxidation ditch treatment facility to serve the Zacate Creek watershed portion of the District (the remainder was served by the Manados Creek WWTP). The District was subsequently annexed by Laredo. The facility is now known as the North Laredo WWTP.
M | 6 | Delta Lake ID | 21470 | 253020 | 2002-08-21 | Completed | Preparation of a water and energy conservation feasibility study for the District's canal system. The study investigated four conservation projects: (1) a permanent bypass canal to eliminate the use of Delta Lake; (2) a recovery system for seepage from the District's main canal; (3) the installation of flow measurement telemetry to increase delivery efficiency; and (4) the renovation and replacement of open channel laterals and buried mortar joint pipes. Funds were available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | Donna | 00416 | 14820 | 1966-09-01 | Completed | PL 84-660 funded wastewater system improvements.
M | 6 | Donna | 00920 | 1363517 | 1978-02-06 | Completed | Construction of a new 1.56 MGD complete mix activated sludge treatment facility. Construction included an industrial pretreatment facility. A second pretreatment unit was added circa 1986 using a TDHCA grant.
M | 6 | Donna | 10037 | 17631031.34 | 1997-08-20 | Completed | Construct water and wastewater facilities to improve service for existing customers and provide first time service to colonia areas in and outside City limits. Construct a 4.5 MGD surface water treatment plant on a new site southwest of the City to replace the existing facility. Construct a 1.5 MGD interconnection with the North Alamo WSC system. Construct a 200,000 gallon elevated storage tank and 151,500 feet of 6 to 10-inch water line. Rehabilitate and expand the City wastewater treatment plant. Add 40,300 feet of 8 to 21-inch sewer line, three lift stations, and 5,240 feet of force main. The project provided first time wastewater service to the Colonia Nueva area (Scissors) south of the City. The North American Development Bank provided more than $2.6 million in construction funding and $1.4 million to hook up new customers.
M | 6 | Donna | 10371 | 13776565.3 | 2009-03-26 | Completed | Construct collection facilities to provide first time wastewater service to economically distressed subdivisions outside City limits on the west side (EDAP). Also rehabilitate and expand the City’s wastewater treatment facility (EDAP & WDF). New collection facilities included 32,500 feet of 8 to 15-inch diameter gravity sewer, one lift station and 4,000 feet of 10-inch force main. Treatment plant work included two new 1,250 gpm pumps in the primary lift station, new head works and preliminary treatment units, new aeration basins and clarifiers, chlorination and de-chlorination facilities, a new activated sludge/return activated sludge pump station, and polymer assisted sludge drying beds. The City also used $4.1 million provided by the Border Environmental Cooperation Commission and Hidalgo County.
M | 6 | Donna | 21000 | 850000 | 1995-07-20 | Completed | Emergency repairs to the City's water treatment facility to help alleviate shortages experienced during the summer of 1995 and to provide a stop gap while plans for a new facility are formulated. A January 1997 TWDB approved change of scope allowed the City to purchase land for the new facility with excess funds.
M | 6 | Donna ID, Hidalgo Co # 1 | 21462 | 198137.3 | 2002-07-16 | Completed | A study of measures needed to upgrade lateral canals in the District's Upper System, specifically replacing several small lateral open canals with a pipeline system. A pipeline system would improve water delivery by reducing evaporation and seepage, and would increase delivery pressure. The study also considered upgrading the control system on the re-lift pump. The District is divided into two topographical planes. The Lower System was upgraded in the 1960s with a Bureau of Reclamation loan. The Upper System remains unchanged from its original design. The District serves 34,321 acres and supplies raw water to the City of Donna, North Alamo WSC, and the Engleman Irrigation District. Funds for the study were made available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | Eagle Pass | 00918 | 56701 | 1972-06-13 | Completed | Improvements at the City's newly completed 2.0 MGD contact stabilization WWTP, including additional sludge drying beds.
M | 6 | Eagle Pass | 01311 | 319799 | 1977-03-31 | Completed | Collection facilities for first time wastewater service for Seco Mines, an area north of the City. The grant was initiated by and awarded to Maverick County until it was determined that the County was an ineligible entity. Eagle Pass annexed Seco Mines and assumed ownership of the project.
M | 6 | Eagle Pass | 01410 | 2238921 | 1981-03-30 | Completed | Expand the City's WWTP from 2.0 MGD to 3.0 MGD and convert from the contact stabilization process to the oxidation ditch process. Construct two relief interceptor systems: the River Interceptor (Seco Mines), and the Airport Interceptor.
M | 6 | Eagle Pass | 06003 | 774196 | 1993-02-22 | Completed | Collection lines, lift stations, and force mains to provide first time wastewater service to the Kickapoo Indian tribe. Wastewater is conveyed to Eagle Pass for treatment.
M | 6 | Eagle Pass | 10049 | 12273982 | 1998-01-15 | Completed | Edson Road collection system: Construct a new 6.0 MGD wastewater treatment facility at a site four miles downstream from the existing plant, with a lift station, force main, and 30-inch interceptor paralleling the Rio Grande River to divert all flow to the new plant; and collection systems to serve unserved and partially served areas along and surrounding Eidson Road south of the City. Subdivisions included La Herradura, Eagle Heights, Las Brizas, Jardines Verdes, Green Acres, Loma Bonita, Lago Vista, Morales, and Las Quintas Fronterizas. An additional commitment in 1998 resolved a funding shortfall and added connections in Las Quintas Fronterizas.
M | 6 | Eagle Pass | 10363 | 485000 | 2009-02-17 | Completed | Funds were used to plan a second round of projects to extend and improve regional water and wastewater systems in Maverick County. Projects would expand the City's wastewater treatment plant from 6 to 8 MGD, construct interceptor lines to tie northern colonias into the Elm Creek Interceptor and enable the abandonment of lift stations, upgrade water distribution lines in the Las Quintas and Jardines Verdes areas, upgrade transmission and distribution facilities in the El Indio Town site area, replace cast iron and asbestos cement pipe in the older sections of the City, construct a new eastside transmission main, expand the SWTP to 19 MGD, rehabilitate water tanks, demolish abandoned facilities, and relocate lines to accomodate TxDOT's El Indio Highway Overpass.
M | 6 | Eagle Pass | 21389 | 688292 | 2001-04-18 | Completed | An interconnection with the El Indio WSC. When initially funded the project included 4,000 feet of 12-inch pipe, a 200,000 gallon ground storage tank, a 1.0 MGD pumping station, a SCADA system, and appurtenances that would supply El Indio with up to 1.0 million gallons per day. Completion of a regional water and wastewater plan (project 35155) and funding for the implementation of the plan (project 60813) rendered these improvements 'interim'. The system, which served 1,800 connections, was under injunction by the State Attorney General for inadequate treatment capacity, bacteriological violations, and various other operational violations. An April 2001 increase in TWDB assistance provided a 3.0 MGD package filter unit to temporarily replace an inoperative unit, and funded 7,600 feet of 16-inch line to provide a loop for the system. El Indio will be acquired and incoporated into the regional system.
M | 6 | Eagle Pass | 60813 | 106098841.33 | 2008-04-29 | Completed | Implement the first two phases (1A & 1B) of a plan to regionalize water and wastewater service for the City of Eagle Pass and surrounding areas. Water improvements included a 19 MGD membrane surface water treatment plant, 89,000 feet of transmission main from the SWTP to various areas, and three 1,000,000 gallon elevated storage tanks (Deer Run, Chula Vista & Vista Hermosa). The El Indio WSC water system that served portions of the Rosita Valley area and the Kickapoo Traditional Tribe south of the City was consolidated and replaced with 156,000 feet of 6 to 30-inch line. Wastewater improvements included a new 1.5 MGD treatment plant to serve the Rosita Valley area, a reclaimed water system to process up to 3 MGD from the existing Eagle Pass WWTP, 68,000 feet of 12 to 42-inch interceptor, and 135,000 feet of collection line to provide first time service to colonia areas.
M | 6 | Eagle Pass | 62556 | 55440869 | 2016-10-05 | Active | Project Description: The proposed project consists of planning, design, and construction of improvements to and expansion of the existing membrane surface water treatment plant (WTP) from 15 million gallons per day (mgd) to 18 mgd; replacement of deteriorated cast iron water lines; replacement of the water distribution system in Las Quintas, and Jardines Verdes subdivisions; water tank rehabilitation; and construction of a new ground storage tank at College Hills. In addition, the project includes a leak detection study, a water audit, water modeling, and a GIS-based asset management plan.
M | 6 | East Rio Hondo WSC | 21558 | 4150000 | 2005-11-15 | Completed | North RO plant transmission line: Purchase one-third of the capacity in the North Cameron Regional Water Supply Corporation's new 2.0 MGD reverse osmosis treatment facility and construct approximately 37,000 feet of 12 and 16-inch water line to connect to the plant. The North Cameron Regional WSC consists of East Rio Hondo, the North Alamo WSC, and the City of Primera. Financing and construction of the plant was managed by North Alamo WSC. East Rio Hondo serves the northeast portion of Cameron County with surface water delivered through Cameron County Irrigation District #2 canals. They operate one 3.2 MGD treatment plant, have another 8.0 MGD plant under construction, and maintain approximately 375 miles of transmission and distribution line. Treating brackish groundwater with a reverse osmosis system gives participants a drought proof supply.
M | 6 | East Rio Hondo WSC | 62599 | 1970000 | 2013-09-19 | Completed | Project Description: The Corporation proposes Part A to address its emergency water supply issues, which will consist of a new 7,443 linear feet raw water transmission line sized 30-inch in diameter and a pump station. The proposed Part A will deliver Rio Grande water through Cameron County Irrigation District No. 6 to the Corporation's existing water treatment plant. District No. 6 projects agricultural irrigation water availability for another one and a half to two years. Also, the delivery system operated by District No. 6 is more efficient with shorter canals and resacas and less water would be lost to evaporation and seepage should the drought contine and pushwater is required. Part B includes the acquisition of easements required to construct a 16-inch interconnect of approximately 18,650 linear feet to eliminate the bottle neck and provide access to available water sources from either side of their system.
M | 6 | Edcouch | 01449 | 986113 | 1984-09-28 | Completed | Construction of a 0.31 MGD overland flow wastewater treatment system consisting of a plant lift station, two aeration/settling ponds, a 13.5 acre terracing system, a storage pond, and chlorination system. The system replaced an Imhoff tank originally constructed in 1932. The project included new collection facilities to serve the Mile 17 North Road area (a lift station, 800 feet of 4-inch force main, and 1,200 feet of 6-inch line), replacement of the Railroad Street Lift Station, and 4,000 feet of 15-inch relief interceptor on Highway 107 from FM 1015 to the WWTP.
M | 6 | Edcouch | 73643 | 3468600 | 2013-02-28 | Active | Project Description: The City is requesting Planning, Design, and Construction funding for the replacement of approximately 3,837 linear feet of eight to fifteen inch diameter gravity sewer line using Cure In-Place Piping technology. The proposed project also includes the rehabilitation of approximately six brick manholes and approximately six lift stations to bring them up to electrical code and Texas Commision on Environmental Quality compliance.
M | 6 | Edinburg | 01622 | 5454498 | 1982-12-28 | Completed | Renovation of the City's existing wastewater treatment plant, which consisted of three trickling filter segments: 0.50 MGD constructed in 1947, 1.10 MGD constructed in 1967, and 1.50 MGD constructed in 1977. The construction of a new 1.40 MGD oxidation ditch plant to operate in parallel with existing facilities (bringing nominal capacity to 4.50 MGD). Construct a new plant effluent outfall - 12,300 feet of 20-inch force main. Upgrade 10 lift stations, including the main WWTP lift station. Construct a series of relief interceptor sewer projects including 27,200 feet of 12 and 24-inch force main on Sugar Road, 2,400 feet of 15-inch line at Stubbs and 8th Street, 1,600 feet of 10-inch line on Shunior, 1,000 feet of 15-inch line on Palm Drive, 5,600 feet of 15 and 21-inch line on 18th Street, and the US 281 Bypass to WWTP relief line - 10,000 feet of 10 and 30-inch line, and 2,400 feet of 8-inch force main.
M | 6 | Edinburg | 10024 | 1468248 | 1991-08-15 | Completed | Improve water service and provide first time wastewater service to the Lull subdivision in the far northern portion of the City. Water improvements included 11,300 feet of 8-inch diameter line to loop the system and replace undersized lines, and 9,600 feet of transmission main to reconnect the subdivision at the intersection of Sugar Road and Mile 17 Road. The wastewater system consists of 12,200 feet of 8 and 10-inch gravity sewer connected to the City with 4,600 feet of 15-inch gravity interceptor, a lift station, and 6,800 feet of force main. The City had served the since-annexed subdivision through an 8-inch supply line and a system of 4-inch distribution lines purchased from the Lull WSC. That system did not meet standards for supply, pressure, and fire protection.
M | 6 | Edinburg | 10033 | 10059492.71 | 1996-08-15 | Completed | Faysville area water & wastewater: Construct water system improvements and new wastewater facilities to serve the Faysville area, extending north and east on US Highway 281. Water improvements included a 500,000 gallon elevated storage tank north of the community of Faysville, a booster pumping station, 68,000 feet of 6 to 15-inch water main, and 150 fire hydrants. After the initial funding commitment, North Alamo WSC contested the Doolittle portion of the proposed service area, generally east of Doolittle Road, and applied separately to TWDB for funds (project 10251) to upgrade water service to that area. Wastewater facilities to serve the entire area included 116,000 feet of 8 to 30-inch line and five lift stations. Treatment is provided at the City's WWTP.
M | 6 | Edinburg | 10065 | 410925.75 | 1993-04-15 | Completed | Colonia plumbing fixtures: Funds enable the City to provide plumbing services and utility connections as needed by residents in order to participate in projects.
M | 6 | Edinburg | 10091 | 46285.71 | 1994-06-16 | Completed | Funds were used to plan first time wastewater service for five subdivisions northwest of the City. The Under the plan the City proposed to purchase and upgrade the water system serving the area and owned by the Sharyland WSC. Wastewater facilities would have included gravity lines, manholes, lift stations and force mains to connect to the City system
M | 6 | Edinburg | 10252 | 135050 | 1996-08-15 | Completed | A Colonia Assistance and Management Support Program (CAMSP) grant. Developed and funded by EPA, and administered by TWDB, the program provides assistance in managing colonias projects.
M | 6 | Edinburg | 21015 | 3700000 | 1995-11-16 | Completed | Expand the City's wastewater treatment plant from 3.9 to 5.9 MGD to accomodate growth of and in the service area. The City had recently upgraded to 3.9 MGD by adding an activated sludge basin to older trickling filter units. The project added a 2.0 MGD extended aeration (oxidation ditch) unit. Other facilities, including influent lift stations, were sized for a second 2.0 MGD expansion (7.9 MGD). Work included modifications to the existing lift station, a new 4.0 MGD lift station, a new RAW/WAS lift station, a new preliminary treatment unit, the 2.0 MGD biological unit, a new 80-foot diameter clarifier, chemical feed facilities, and a 5.3 MGD effluent lift station with 6,570 feet of 30-inch force main.
M | 6 | Edinburg | 21451 | 225787 | 2002-05-15 | Completed | An emergency water connection with the City of McAllen. The project included 1,300 feet of 16-inch water line on the north right-of-way on Trenton Road approximately 1/2 mile west of McColl Road, a 16-inch water meter with a backflow prevention device, and appurtenances. McAllen has agreed to provide Edinburg up to 2.0 MGD during emergencies.
M | 6 | Edinburg | 62597 | 15830000 | 2016-09-22 | Active | Project Description: The City proposes to expand its existing West WTP from 8 mgd to 16 mgd within the existing facility site and to add intake pipes between the Hidalgo County Irrigation Districts canal No. 1 and reservoir No. 2 and to add a pump station at reservoir No. 2 to increase the water levels in reservoirs No. 1, No. 3, No. 4 and No. 5.
M | 6 | Edinburg | 72112 | 4020000 | 2006-12-12 | Completed | Construct improvements at the City’s wastewater treatment plant to improve efficiency and facilitate future expansion – the second stage of a project to increase capacity from 5.3 to 7.6 MGD and upgrade treatment levels to 5/5/1.5 (bod/tss/nh3). Improvements included a new plant lift station, new headworks with a grit removal system, flow division structures, an odor control system, piping and site work. The first stage (not funded by TWDB) expanded the facility’s orbal treatment system and added a clarifier, emergency generator and other items. The City plans to expand the WWTP to a final phase capacity of 12.3 MGD
M | 6 | El Jardin WSC | 60916 | 3545000 | 2003-01-23 | Completed | Elevated storage tank & lines: Construct a 750,000 gallon elevated storage tank, 14,100 feet of distribution line, and two pumping stations. The project will provide reserves for peak demand periods and emergencies, and help alleviate pressure problems currently experienced throughout the WSC's system. The WSC and the Brownsville PSB currently hold dual Certificates of Convenience and Necessity for this service area. They have formed a joint commitee to study associated long-term capital improvement needs, and have committed to investigate the designation of a sole service provider. A condition has been added that will allow the Board to re-evaluate its commitment based on evolving circumstances.
M | 6 | Elsa | 00680 | 16219 | 1971-02-05 | Completed | Wastewater improvements - probably linework. The City's treatment facility was a 0.12 MGD Imhoff tank followed by lagoons, operated by the Rio Grande Valley Pollution Control Authority. See project # 00791.
M | 6 | Elsa | 10036 | 37500 | 1993-09-16 | Completed | Planning for water improvements and first time wastewater service for colonia areas near the City.
M | 6 | Elsa | 61772 | 4243998.34 | 2009-11-19 | Completed | Rehabilitate the City’s 1,800,000 gallon raw water reservoir, surface water treatment plant, two ground storage tanks, and elevated storage tank. Upgrade the supervisory control and data acquisition (SCADA) system, replace 21,600 feet of 2-inch distribution line with 6-inch line, and replace inoperable valves, hydrants and meters. The water reservoir liner was failing. The 1980s treatment facility and steel storage units were severely corroded. Replaced cast iron lines were calcified, reducing capacity and pressure, and causing frequent breaks.
M | 6 | Elsa | 72630 | 6314327.88 | 2009-10-15 | Completed | Rehabilitate the City’s wastewater treatment plant and collection system. At the plant replace the headworks and install a flow splitter structure, two 45-foot diameter clarifiers, a sludge pumping station, and sludge drying beds. In the collection system rehabilitate 8 lift stations and replace 17,000 feet of concrete sewer main. WWTP equipment is severely corroded and not capable of meeting TCEQ effluent standards. Lines break frequently and cause stoppages and overflows.
M | 6 | Harlingen | 01119 | 5274268 | 1980-09-12 | Completed | Construct improvements to both of Harlingen's wastewater treatment plants. At WWTP # 1 (a 3.1 MGD two stage trickling filter) provide new headworks, chlorination facilities, and a sludge aeration system. At WWTP # 2 (a 3.5 MGD two stage trickling filter) provide two new clarifiers, two high rate trickling filters, a chlorine contact chamber, and sludge aeration system.
M | 6 | Harlingen | 01657 | 281663 | 1981-08-12 | Completed | Facilities planning for a third WWTP on the northwest side to relieve overloading at WWTP # 2 and serve the Dixieland area and the Town of Combes. Planning did not lead to construction.
M | 6 | Harlingen | 10283 | 1370459 | 1997-12-11 | Completed | Funds were used to acquire the wastewater collection system built by residents of the Arroyo Colorado Estates WSC southeast of the City through a community self-help project, construct wastewater collection lines (1,160 feet of 6 and 8-inch) to provide first time service to the Bishop-Leal subdivision south of the City, and construct three lift stations and 32,500 feet of force main to transport flow from both areas to the City's collection system.
M | 6 | Harlingen | 20813 | 61200 | 1972-04-20 | Completed | Funding for Harlingen's wastewater system through federal PL 84-660 and the Water Development Fund.
M | 6 | Harlingen | 20814 | 12000000 | 1986-10-16 | Completed | A series of projects to address production, storage, and pressure maintenance issues in the City's water works. Expand the M.F. Runnion SWTP from 6 to 20 MGD and add two 2.5 MG clearwells. At the Downtown SWTP improve instrumentation, add sumps beneath the high service pumps in two existing clearwells, add a sludge holding lagoon, and add a 1.5 MG clearwell. Build a 1.5 MG elevated storage tank on North Loop 499 near the U.S. 77 Expressway. Construct a 12-inch water main along FM 106 to supply the Port of Harlingen. Aquire 1,500 acre-feet of water rights. The City used excess funds to construct transmission mains around the perimeter.
M | 6 | Harlingen | 20815 | 2760000 | 1987-07-16 | Completed | Upgrade the City’s WWTP # 1 to meet the provisions of an EPA consent decree. Construct a 2.0 MGD complete mix activated sludge process to operate in parallel with the existing (1.1 MGD) two stage trickling filter plant, to achieve a permitted capacity of 3.1 MGD.
M | 6 | Harlingen | 20816 | 2000000 | 1989-04-20 | Completed | Expand the City’s WWTP # 2 from 3.5 to 5.0 MGD, upgrade treatment levels from secondary (20/20) to advanced (10/15/3), accommodate a textile industry’s waste discharge, and provide wastewater effluent as process water for the industry. At the existing trickling filter plant, retrofitted to treat up to 3.0 MGD of domestic flow, construct a new solids contact basin and aeration system, two new clarifiers, and renovate stage 1 and 2 filtration systems. To treat up to 2.0 MGD of pretreated textile waste construct a new 2.0 MGD extended aeration activated sludge plant. A portion of the domestic waste stream, and the entire industrial waste stream were combined, filtered, chlorinated, dechlorinated, and discharged. The remaining domestic waste stream went through additional treatment process, including reverse osmosis, for industrial reuse. Funding included $2,500,000 from the Texas Department of Commerce, $1,750,000 from the Economic Development Administration, and $2,020,000 from City sources.
M | 6 | Harlingen | 20818 | 13700000 | 1992-11-19 | Completed | Refinance bonds issued for TWDB project numbers 20814, 20815, and 20816. Refinancing had the effect of consolidating the City's water and wastewater utility systems, until then financially separate, thereby increasing the flexibility and strength of the City's revenue system to make needed capital improvements.
M | 6 | Harlingen | 71219 | 1845000 | 2000-04-19 | Completed | Add sludge digestion and disposal capacity at the City’s WWTP # 2 using a supercritical water process. The process oxidizes organic materials at temperatures above 705 degrees Fahrenheit and pressures above 3200 psi. WWTP # 2 produces effluent through a reverse osmosis treatment facility for reuse as bleach and dye process water at a Fruit of the Loom fabric plant. Return flows had increased to 3.5 MGD and solids had overwhelmed sludge handling capabilities. The City also used $1,355,000 in local bond issues.
M | 6 | Harlingen ID Cameron Co # 1 | 21438 | 178030 | 2001-09-19 | Completed | Prepare a water and energy conservation feasibility study for the District's canal system. There were two components, one pertaining to flow measurement capabilities at the District's numerous pump sites and diversion points, the other a survey of the entire canal system to identify reaches where seepage exists and lining or pipeline installation may be cost effective. Funds were made available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account. The study provided the documentation necessary to meet federal grant requirements pursuant to the "Lower Rio Grande Valley Water Resources and Conservation and Improvement Act of 2000", enacted by Congress in December 2000.
M | 6 | Hidalgo | 00425 | 106630 | 1967-05-01 | Completed | The construction of a new wastewater collection and treatment system to provide first time service for at least part of the City. The treatment facility consisted of an Imhoff tank, a trickling filter, and an oxidation pond permitted for 0.14 MGD. Collection facilities included two lift stations. Additional financing for this project is a certainty, but sources and amounts are unknown.
M | 6 | Hidalgo | 01608 | 479378 | 1984-09-28 | Completed | Replacement the City's 1969 Imhoff tank and trickling filter treatment facility with a 0.407 MGD lagoon system. The new plant consisted of a lift station, bar screen, two aerated lagoons, four stabilization ponds, and chlorination facilities.
M | 6 | Hidalgo & Cameron Cos ID # 9 | 21471 | 88230 | 2002-08-21 | Completed | Prepare a water and energy conservation feasibility study for the District's canal system. The study investigated installation of automatic control canal gates, which would help minimize spills from canals into agriculture drains. Funds were made available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | Hidalgo Co DD # 1 | 21744 | 5599008 | 2014-08-21 | Completed | Need: The existing outfall/drainage systems related to the Raymondville Drain Outfall System were designed primarily to convey agricultural run-off from a storm event statistically-likely to occur every 9.5 years. Due to extraordinary urban growth in Hidalgo County, the existing systems are not conducive to handle major storm events. During major storm events, the capacity of the drainage systems in both Hidalgo County and Willacy County has been insufficient, causing flooding in the area. Project Description: In 2000, the District began executing professional services agreements and initiated the early planning of the project. Since that time, the District has completed various planning, environmental, and project management tasks. When completed, the District estimates that the total project cost will be approximately $293 million and will include over 14 miles of new drainage channels, improvements to approximately 40 miles of existing channels, construction of a major detention lake (approximately 250 acres) south of Edinburg International Airport, and numerous weirs, bridges, and other flood control structures. Due to its size and cost, the project has been divided into 6 major phases to be developed as funds become available. At this time, the District seeks partial reimbursement for costs incurred in planning, surveying, development of a Supplemental Environmental Impact Statement, aerial mapping, and project management. The costs sought for reimbursement are eligible for funding by the Board.
M | 6 | Hidalgo Co ID # 1 | 21440 | 122307.28 | 2001-09-19 | Completed | The preparation of a water and energy conservation feasibility study related to replacing a two mile long, 8 feet-wide by 6 feet-deep section of concrete lined canal with a 72-inch diameter pipe. The District will contract with the Bureau of Reclamation for quality control and work with Texas A&M University on an analysis of potential energy savings. Funds are available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account. The study will provide the necessary documentation to meet federal grant fund requirements (with a 50% local match) for construction of the water infrastructure improvements pursuant to the "Lower Rio Grande Valley Water Resources and Conservation and Improvement Act of 2000".
M | 6 | Hidalgo Co ID # 1 | 21465 | 137133.76 | 2002-07-16 | Completed | A water and energy conservation feasibility study for the District's canal system. The study will focus on replacing seventy-five year old open canals with pipelines. A pipeline system would enable the district to operate a looped system with a continuous water supply. It would reduce seepage and evaporation loss, increase delivery efficiency, and permit alternative irrigation techniques such as micro-spray and other precision application systems. The District serves 20,000 acres of irrigated cropland and supplies raw water to the Cities of Edinburg and McAllen, North Alamo WSC, and Hidalgo Co Irrigation Districts 13 and 15. Funds are available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | Hidalgo Co ID # 1 | 51007 | 7100000 | 2015-07-23 | Active | Project Description: The District is proposing to improve a segment of the existing West Main Canal that is earthen and unlined by adding a combination of reinforced geomembrane and concrete lining. The project is located within the City of McAllen in Hidalgo County. The proposed work would improve conservation efforts.
M | 6 | Hidalgo Co ID # 2 | 21482 | 132539.19 | 2002-09-18 | Completed | Prepare a water and energy conservation feasibility study to rehabilitate and replace portions of the District's open canal system with concrete pipe. Canals needing rehabilitation are lined with concrete that is severely cracked. Seepage will eventually cause them to fail. The District is located in and around the city of San Juan and supplies irrigation water to 44,000 acres of farmland. The District also delivers raw water to the Cities of Alamo, McAllen, Pharr, San Juan and Edinburg and the North Alamo Water Supply Corporation. Funds were available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank.
M | 6 | Hidalgo Co ID # 6 | 21472 | 153060 | 2002-08-21 | Completed | Prepare a water and energy conservation feasibility study for the District's canal system. The study investigated the renovation of 10.2 miles of the City of Mission main canal. The current canal lining was installed in 1930 and has significantly deteriorated. Funds were made available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | Hidalgo Co ID # 16 | 21420 | 93702.71 | 2002-07-16 | Completed | Prepare a water and energy conservation feasibility study focused on improving the delivery of water from the Rio Grande to the District boundary. Because of the topography water must be lifted three times before it arrives at the district. The study considered the feasibility of replacing off-district pumping plants with efficient variable speed pumps controlled by flow measurement devices within the canal. The District includes 12,800 acres of irrgable land and supplies raw water to the City of La Joya and the La Joya WSC. Funds were made available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | Hidalgo Co MUD # 1 | 61424 | 5605000 | 2008-04-29 | Completed | Project Description: The District intends to build a new 2 mgd (million gallons per day) water treatment plant (WTP) to replace the existing WTP. The existing WTP is at the end of its useful life and near capacity limits.
M | 6 | Hidalgo Co MUD # 1 | 72241 | 5649896 | 2012-04-19 | Completed | Need: The District wastewater treatment plant (WWTP) is in need of expansion to meet increased demand for service and more stringent permit limits. Description: The WWTP is being expanded from 0.37 mgd to 0.95 mgd at this time.
M | 6 | Hidalgo Co WCID # 19 | 20998 | 300000 | 1995-07-20 | Completed | The TWDB loan allowed the District to serve as a lender, making loans to individual farmers for the purchase of approved water conservation equipment.
M | 6 | Hidalgo County | 10027 | 179631 | 1991-07-18 | Completed | Funds were used to plan and design a wastewater system to provide first time service to the El Paraiso area northwest of Alton. The planning area included the El Paraiso, Los Ebanos I & II, and Casa De Los Vecinos subdivisions. Plans did not lead to construction.
M | 6 | Hidalgo County | 10038 | 75000 | 1994-01-20 | Completed | Funds were used to plan a wastewater system to provide first time service for the DeAnda and Saenz subdivisions east of Mercedes. As planned the system would have featured small diameter lines transporting wastewater from septic tanks to a constructed wetlands treatment facility. The City of Mercedes received funding for construction through TWDB project 10198.
M | 6 | Hidalgo County | 10040 | 32690 | 1994-03-15 | Completed | Funding was provided to plan a project to provide first time wastewater service for the Sanchez Ranch subdivision southeast of the City of Hidalgo.
M | 6 | Hidalgo County | 10068 | 900000 | 1995-11-16 | Completed | A study to identify populated areas in unincorporated areas in Hidalgo County where centralized or regional wastewater service might be feasible. The study identified five areas for which facility plans were to be prepared.
M | 6 | La Feria | 00494 | 27390 | 1967-08-01 | Completed | PL 84-660 funding. The City completed construction of a 0.30 MGD oxidation ditch treatment unit in 1969, and may have utilized additional sources of funding. The unit was following by lagoons and permitted accordingly.
M | 6 | La Feria | 10231 | 20232670 | 2008-07-29 | Completed | Water & wastewater system expansion: Construct water and wastewater facilities to improve service for existing customers and provide first time service to subdivisions on the north and west sides outside City limits. Construct a new 1.25 MGD extended aeration wastewater treatment plant to replace the City's 1968 facility. Construct gravity lines, force main, and six lift stations. Expand the City's surface water treatment plant by 2 MGD and add more than 41,000 feet of transmission and distribution line. The North American Development Bank provided $6.9 million, the Border Environmental Cooperation Commission $391,200, and the Office of Rural Community Affairs $1.2 million.
M | 6 | La Feria | 20819 | 215000 | 1975-01-28 | Completed | TWDB funds, a $240,000 EDA grant, and $283,729 in local funding were used to modify and improve the City's water treatment plant and water transportation facilities and construct an elevated water storage tank.
M | 6 | La Feria | 21361 | 650933 | 1999-09-15 | Completed | Construction of a 14,000 foot 16-inch pipeline from the City of Harlingen's water system at Bass Boulevard to the City of La Feria's elevated water tank on North Parker Road. Based on a TWDB evaluation of the 1998 drought, utilities that receive supplies through irrigation districts are at risk when irrigation supplies are exhausted. The original commitment of $390,000 was increased by $189,933 on June 21, 2000, by $40,000 on June 18, 2002 and by $31,000 on January 22, 2003. The most recent increase was needed to reroute a section of water line to accomodate a TxDOT project to expand Expressway 83. The City has commited to a $62,213 cash contribution.
M | 6 | La Feria | 62389 | 880000 | 2009-10-15 | Completed | Replace the 35 year old steel filter at the City's water treatment plant with a concrete filter, with high efficiency pumps and motors and a more efficient backwash process. The concrete structure will require less maintenance. Improved pumps and backwash system will reduce power consumption and save water.
M | 6 | La Feria | 62502 | 7167700 | 2011-05-04 | Active | Project Description: The proposed project consists of water treatment plant (WTP) and distribution system improvements and upgrades to comply with the disinfection byproducts rule. Improvements to the WTP also include electrical motor controls and installation of a Supervisory Control and Data Acquisition (SCADA) system. Distribution improvements include extending water lines to provide first time service to disadvantaged areas, replacing water meters and implementing an automated meter reading and leak detection system to improve efficiency and reduce water loss and replacing asbestos cement water lines.
M | 6 | La Feria | 73602 | 8381340 | 2011-05-04 | Active | Project Description: Installation of approximately 31,550 feet of PVC pipe in sizes 8-inch to 15-inch, three lift stations, manholes, and related appurtenances. Installation of a Supervisory Control and Data Acquisition (SCADA) system at the existing wastewater treatment plant.
M | 6 | La Feria ID Cameron Co # 3 | 21450 | 133016.3 | 2002-01-16 | Completed | A study of the feasibility of replacing 5.5 miles of open canal with concrete pipeline. Work included seepage studies along canal stretches to ascertain optimum locations for pipeline installation. Funds are available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | La Joya | 72022 | 12350000 | 2006-05-15 | Active | Construct a new 1.20 MGD mechanical wastewater treatment plant, a new lift station, and approximately 20,000 feet of 6 to 18-inch sewer line to accommodate flow from the expanding La Joya ISD and growth within the City. The existing plant is a non-discharging 0.175 MGD lagoon facility built in 1982. It is in poor condition and operates above 90% of its capacity. The existing collection system has nearly 57,000 feet of 4 to 16-inch line and 9 lift stations. Most of the system operates at capacity and cannot accept additional flow.
M | 6 | La Joya WSC | 10034 | 26943000 | 2001-12-12 | Completed | Funds were used to plan a wastewater system to provide first time service to the western portion of the Corporation's water service area. The project area included the communities of Sullivan City, Cuevitas, Los Ebanos and surrounding areas in far western Hidalgo County. The plan included a 1.40 MGD treatment plant north of Cuevitas, 136,000 feet of gravity sewer line, 25,400 feet of force main, and eight lift stations. The WSC went into receivership and its assets and projects were acquired by Agua SUD.
M | 6 | La Villa | 20824 | 1049488 | 1983-08-18 | Completed | Construction of a new wastewater collection and treatment system to provide first time service for the community. Treatment consists of a 0.20 MGD oxidation ditch, with bar screens, two clarifiers, chlorination facilities, and sludge drying beds. The collection system consisted of 32,000 feet of 6 to 10-inch gravity sewer, 1 lift station, and 6,500 feet of 8-inch force main.
M | 6 | Laguna Madre WD | 20838 | 150000 | 1959-10-16 | Completed | Water supply improvements in the District's system serving the Cities of Port Isabel, Laguna Vista, Laguna Heights, and the southern end of South Padre Island.
M | 6 | Laguna Madre WD | 20839 | 1255000 | 1971-09-21 | Completed | Bond proceeds, together with an EDA grant of $1,211,000 were used to construct a new transmission line to South Padre Island, and for improvements and extensions on the mainland and South Padre Island.
M | 6 | Laguna Madre WD | 20841 | 7453799 | 1975-01-28 | Completed | Construction of a new 0.50 MGD to serve the City of Port Isabel, and two new 0.50 MGD contact stabilization plants to serve the northern and southern areas of South Padre Island. The project included new collection facilities for unserved areas.
M | 6 | Laguna Madre WD | 20842 | 8250000 | 1986-07-24 | Completed | Bonds used to construct a new river pump station, transmission line and storage facility.
M | 6 | Laguna Madre WD | 20843 | 4900000 | 1994-01-20 | Completed | Expand the District's South Padre Island Isla Blanca WWTP from 1.5 to 2.6 MGD, rehabilitate and expand three lift stations, and modify/expand the interceptor sewer system. Initial commitment $3.6 M. Second commitment of $1.3 M on 01/20/94 due to higher than expected costs and expanded scope.
M | 6 | Laguna Madre WD | 73730 | 5815000 | 2016-06-14 | Active | Description: The proposed project is the first phase of a multi-phase project to achieve advanced water reuse. The current project phase includes improvements to the District’s existing Port Isabel Wastewater Treatment Plant (WWTP) facilities and equipment. In the short term, these improvements will improve effluent quality and increase the WWTP’s operational reliability and efficiency while maintaining the current treatment capacity and flows. In the long term, these improvements will be the foundation to meet intake water quality requirements of a future advanced water treatment facility that will discharge high quality reuse water to be used as reclaimed irrigation water, or to be delivered to the District’s water treatment plants to be treated for potable use.
M | 6 | Laredo | 01456 | 3294966 | 1985-08-28 | Completed | Renovate and expand the Zacate Creek WWTP from 8.0 MGD to 14.0 MGD. Convert the existing facility from a trickling filter to a bio-oxidation tower process, and construct a new 6.0 MGD contact stabilization unit. A corresponding upgrade to the Zacate Creek interceptor was funded locally.
M | 6 | Laredo | 01961 | 8200000 | 1995-01-20 | Completed | Wastewater improvements ($5.9 M) consisted of an outfall main and abandonment of several lift stations tributary to Laredo's South WWTP. Water improvements ($2.1 M) included a new 60 MGD raw water intake structure for the City's Jefferson Street surface water treatment plant.
M | 6 | Laredo | 10045 | 25022344.75 | 2007-10-23 | Completed | Mines Road & SH 359: Construct water facilities to provide first time service to five unincorporated subdivisions in the Mines Road area north of Laredo, and water and wastewater facilities to serve ten unincorporated subdivisions along State Highway 359 east of the City. Mines Road water facilities included 106,000 feet of 8 to 16-inch diameter water main, a 250,000 gallon ground storage tank and a booster pumping station. Water facilities for SH 359 included 148,000 feet of 6 to 12-inch water line, a 500,000 gallon elevated storage tank, a 250,000 gallon ground storage tank, and a booster pumping station. Funds were also used to purchase 658 acre-feet of municipal water rights. SH 359 wastewater facilities included 140,000 feet of 8 to 24-inch gravity sewer line, two lift stations and 16,000 feet of force main. Treatment is provided at the Laredo Southside WWTP. Funds were also used to install 14 on-site septic systems in the Los Corralitos subdivision on Mines Road. A related project funded by the North American Development Bank provided wastewater collection facilities along Mines Road and expanded the City’s Columbia Bridge WWTP.
M | 6 | Laredo | 10409 | 13159638.81 | 2009-09-17 | Completed | Funds to purchase irrigation water rights from public and private owners. Purchases were or will be converted to municipal water rights. This is a recommended strategy in the Region M Water Planning Area of the 2007 State Water Plan. The City anticipated purchasing a minimum of 6,637 acre-feet of municipal water rights.
M | 6 | Laredo | 20835 | 2500000 | 1981-07-21 | Completed | Construct an outfall line to route wastewater flow from the City to the new 3.0 MGD South Laredo, or Southside WWTP.
M | 6 | Laredo | 20836 | 1700000 | 1989-10-18 | Completed | Expand the North Laredo WWTP from 0.58 to 0.926 MGD and construct an alternate effluent reuse transmission line from the facility's storage ponds to the Webb County Casa Blanca Public Golf Course complex for irrigation. Work included renovation of the existing 1979 oxidation ditch, and construction of a new 0.5 MGD oxidation ditch to operate in parallel. The North Laredo WWTP serves the Del Mar area, annexed into Laredo in the mid 1980s. The plant was severely overloaded.
M | 6 | Laredo | 61651 | 48196000 | 2009-10-15 | Completed | Implement a series of improvements recommended by the City’s Master Plan. Expand the Upper Plant at the Jefferson Street WTP from 50 to 65 MGD, upgrade the filtration system, and add a clear well. The 10 MGD Lower Plant has reached the end of its useful life and will be abandoned. Upgrade pumping capacity at the Milmo, Hendricks, and Lyon Booster Pump Stations. Add a 2,000,000 gallon ground storage tank at the Milmo Station. Provide generators and electrical controls at 11 booster stations. Replace 8,280 feet of old 20-inch diameter cast iron line on Jefferson Street. Replace 5,300 feet of 16-inch and 5,000 feet of 8-inch line, and add 5,000 feet of 8-inch line with hydrants and valves, and appurtenances on FM 1472 (Mines Road). Replace 1,650 feet of 12-inch line on Flecha Lane. Replace 59,755 feet of 8-inch line with hydrants, valves, asphalt replacement and appurtenances in various locations.
M | 6 | Laredo | 62646 | 5500000 | 2014-10-21 | Active | Project Description: The City plans to construct a new 3.0 million gallon composite elevated storage tank, which will be located east of International Boulevard and United High School in the San Isidro subdivision in North Laredo and will serve the northern sector of the water system. This new tank, along with the already completed construction of the El Pico Water Treatment Plant, will be part of new water system additions that will help the City meet the increase in water demand and address the low water pressure problem.
M | 6 | Laredo | 62657 | 4600000 | 2015-03-26 | Active | Project Description: The City proposes to construct approximately 12,250 linear feet of 24-inch water transmission line to loop its water system and improve water pressure to new developed areas. The new waterline will be an extension of an existing 24-inch water transmission line from the El Pico Water Treatment Plant to run through Casa Verde Road, Jacaman Road, and Sinatra Drive and to tie-in at the east corridor booster station.
M | 6 | Laredo | 73626 | 48750000 | 2012-04-19 | Active | Project Description: Expansion of the Laredo Southside Wastewater Treatment Facility to its final phase permitted flow of 12.0 million gallons per day (MGD).
M | 6 | Laredo | 73705 | 22075000 | 2015-03-26 | Active | Project Description: The City is requesting construction funding to expand the South Laredo WWTP from 12 to 18 MG.
M | 6 | Los Fresnos | 01665 | 1007258 | 1984-09-13 | Completed | Construct a 0.59 MGD oxidation ditch wastewater treatment facility to replace a 0.10 MGD Imhoff tank and oxidation pond system that was originally constructed in 1945. Work included upgrading the City's Main Lift Station and constructing a new lift station on Alamo Street.
M | 6 | Los Fresnos | 10322 | 16402769.91 | 2009-08-20 | Completed | Expand the City’s wastewater collection and treatment system to provide first time wastewater service to the Town of Indian Lake, the Los Cuates subdivision, and the Laureles area on both sides of FM 1575 north to County Road 510. The treatment facility was expanded from 0.59 to 1.00 MGD and upgraded for advanced (10/15/3) treatment levels by adding a second oxidation ditch and clarifier. New collection and conveyance facilities included 66,700 feet of 8 to 21-inch gravity line, 9 lift stations, and 32,000 feet of 4 to 16-inch force main.
M | 6 | Los Fresnos | 21429 | 484358.59 | 2001-04-18 | Completed | Construct an emergency water interconnection with the East Rio Hondo Water Supply Corporation. Work included 16,000 feet of 12-inch water line north along FM 1847 (Paredes Line Rd) from Henderson Road to CR 510. The City obtains water from Cameron County WCID #6, an irrigation district, leaving them vulnerable during periods of drought if irrigation supplies are exhausted. East Rio Hondo expanded its plant from 3.20 to 8.50 MGD, enabling them to provide 0.35 gallons per minute per connection when needed.
M | 6 | Los Fresnos | 62627 | 1426101 | 2014-09-04 | Active | Project Description: The City is requesting funds for planning and design services to expand its water treatment plant from 1.0 million gallons per day to 2.5 million gallons per day. Additionally, to improve its water pressure problems, the City plans to replace approximately 22,300 linear feet of 2-inch and 4-inch water lines and 50 deteriorating fire hydrants.
M | 6 | Los Fresnos | 72160 | 4975000 | 2007-08-27 | Active | Improve the City's wastewater treatment plant in order to re-rate permitted capacity from 1.00 to 1.30 MGD, and construct a third treatment stream to increase overall capacity to 1.80 MGD. Project 10322 expanded the plant from 0.59 to 1.00 MGD by adding a second oxidation ditch and clarifier. Plant construction was complete in 2003. The aerators on the original oxidation will be replaced and the plant's chlorination basin expanded. A third oxidation ditch and two clarifiers will be built. Funds will also be used to upgrade the City's Alamo Street Lift Station, and expand the Laureles Lift Station - still to be constructed through project 10322.
M | 6 | Los Fresnos | 73687 | 1164980 | 2014-09-04 | Active | Project Description: The City's proposed project will rehabilitate three existing lift stations, add two new lift stations, purchase standby generators and automatic transfer switches for the lift stations, replace deteriorated vitrified clay sewer collection lines, replace undersized collection lines, and extend the collection system to 55 homes in an area on the west side the City.
M | 6 | Lyford | 20846 | 264281 | 1972-10-20 | Completed | Construction of a new wastewater collection and treatment system to provide first time service to the City. Treatment consists of a 0.27 MGD oxidation ditch followed by three oxidation ponds with a total surface area of 13.7 acres. The facility is designed for secondary lagoon (30/90) treatment. The Farmers Home Administration supplied $330,000 in financial assistance.
M | 6 | Maverick Co WCID # 1 | 21473 | 308882 | 2002-08-21 | Completed | A water and energy conservation feasibility study for the District's canal system. The study investigated the feasibility of lining approximately 12 miles of the District's main canal. The current amount lost to seepage or deep infiltration is estimated to be 24,000 acre-feet per year. Funds are available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | Maverick County | 10050 | 28125 | 1992-01-09 | Completed | Funds were used to plan a treated water transmission line from Maverick County's Radar Base SWTP and a water distribution system to serve the Normandy and Quemado areas north along US 277.
M | 6 | McAllen | 00428 | 362100 | 1966-11-01 | Completed | Construct a second treatment plant to operate in parallel with the existing (1927, 1948 & 1959 treatment trains) 2.7 MGD high rate trickling filter plant. The expanded plant was designed for 3.0 MGD of domestic and 2.5 MGD of industrial flow. Components included an aerated grit chamber, two pre-aeration tanks, two primary clarifiers, two anaerobic digesters, four oxidation lagoons, stand-by chemical feed equipment, chlorination facilities, and sludge drying beds.
M | 6 | McAllen | 01515 | 4831414 | 1985-09-24 | Completed | Rehabilitation, additions, and modifications to the City's WWTP #2 to bring its capacity up to 10.0 MGD. The construction of approximately 5,000 feet of 18 and 21-inch relief interceptor, and the rehabilitation and expansion of 5 lift stations. Treatment works consisted of a new bar screen, additional aerators, an aerobic digester, chemical feed equipment, two new final clarifiers, additional sludge drying beds, chlorination facilities, an underground drainage system, piping, site improvements, and electrical system improvements.
M | 6 | McAllen | 10039 | 46125 | 1994-02-17 | Completed | Funds were used to plan infrastructure for improved water service and first time wastewater service to economically distressed areas northwest of the City. Water service in this area is provided by the Sharyland WSC.
M | 6 | McAllen | 10435 | 434000 | 2013-04-18 | Completed | Project Description: The City has requested financial assistance through the Economically Distressed Areas Program (EDAP) to conduct an engineering feasibility study to extend wastewater services to serve thirty-four (34) subdivisions located northwest of the City. The study will evaluate wastewater collection system alternatives and determine the most cost-effective option to serve the area. The City expects wastewater discharge from the project area to be transported and treated at its existing wastewater treatment plant.
M | 6 | McAllen | 21053 | 4240000 | 1996-07-18 | Completed | Expand the City's North WWTP by 2 MGD by adding an extended aeration train. In combination with plant expansion funded by the City of Alton project (10025) flow capacity increased from 4 to 8 MGD. Items originally proposed for this project were funded locally: oversizing the Alton interceptor, and new head works for the City’s South WWTP.
M | 6 | McAllen | 21621 | 2000000 | 2008-11-25 | Completed | Replace the City’s north side raw water supply reservoir with a 300 MG reservoir on a 65-acre site on the southeast side. Construct 19,300 feet of 30 to 60-inch raw water transmission main from the new reservoir to gravity feed the City’s surface water treatment plant on the southwest side. The old reservoir was constructed in the late 1950s and fed through an open channel from canals owned by Hidalgo County Irrigation Districts 2 and 3. The new reservoir and pipeline eliminates evaporation and seepage losses and increases storage capacity from 5 to 8 days. TWDB funding was appropriated by the 2007 Legislature and used to match $2,000,000 in City funding. The remainder of the $17.4 million project cost was supplied by the McAllen Development Corporation.
M | 6 | McAllen | 72933 | 39485000 | 2009-12-17 | Completed | Expand the City’s North WWTP from 8 to 18 MGD by constructing a new 15 MGD extended aeration plant, upgrading and keeping in service two of the existing plant units, converting one clarifier to a sludge thickener, converting another clarifier to a chlorine contact basin, and converting two aeration basins to aerobic digesters. The expanded plant will also need a 15 MGD influent structure, new chlorine and sulfur dioxide containment buildings, a new blower building, a second belt press, and new operations and maintenance buildings. The WWTP also serves the City of Alton and is operating near capacity.
M | 6 | McAllen | 73633 | 1700000 | 2012-04-19 | Active | Project Description: The City is requesting funding to plan and design a major sanitary sewer trunk line extension from the North Wastewater Treatment Plant approximately 8 miles into the unserved area. Upon completion of the design phase, the City anticipates applying for construction phase funding through either the Economically Distressed Areas Program or an additional CWSRF funding application.
M | 6 | McAllen | 73640 | 7808511 | 2012-09-20 | Active | Project Description: Construct a 2 MGD reuse water pump station and a UV disinfection system at the City's South WWTP and approximately 34,100 linear feet of purple pipe distribution system to serve irrigation customers that currently use potable water. The South WWTP disinfection system will be switched from chlorine, allowing the chlorine tank to be converted to storage capacity for reuse pumping. An onsite bleach generator will provide residual disinfection to prevent biological fouling of the reuse pipeline.
M | 6 | McAllen | 73659 | 43447715 | 2014-01-23 | Active | Project Description: The City is requesting construction phase funding for upgrades at the South Wastewater Treatment Plant including both the liquid and solids treatment processes to improve treatment and increase efficiency. As part of the upgrade to the wastewater treatment plant, the City has elected to include the construction of a new belt filter press. The project will also include enclosure of the dewatering facility and the provision of the odor control system, which were initially taken out of the project.
M | 6 | McAllen | 73731 | 8349567 | 2016-06-14 | Active | Project Description: The proposed project will include improvements to the City’s North Wastewater Treatment Plant (NWWTP) to make it capable of producing effluent that meets Type 1 reclaimed water standards, conversion of an abandoned aeration basin to function as a Type 1 reuse storage vessel, and construction of a booster pump station and approximately seven miles of reclaimed water transmission lines.
M | 6 | Mercedes | 01223 | 1177982 | 1980-01-04 | Completed | The construction of a new 1.30 MGD oxidation ditch wastewater treatment plant to replace existing facilities.
M | 6 | Mercedes | 10029 | 9259756.21 | 2003-10-15 | Completed | Colonia water & wastewater service: Construct water distribution facilities to provide first time service to three colonia subdivisions and wastewater collection facilities to extend first time service to colonia areas to the north, east, and southeast. Water improvements included of 7,600 feet of 8-inch diameter line, valves and fire hydrants. Wastewater facilities included 94,600 feet of 6 to 18-inch diameter gravity sewer, four new lift stations, and 13,300 feet of force main. The North American Development Bank provided funding. Total project cost was $15.7 million.
M | 6 | Mercedes | 10198 | 499700 | 1996-01-18 | Completed | Funds were intended to provide first-time wastewater service for the DeAnda and Saenz subdivisions east of Mercedes near the Cameron County line. Though designed as an innovative technologies project featuring a small diameter gravity collection system transporting waste from the septic systems of 40 dwellings to a constructed wetlands wastewater treatment facility, the area was later included in the conventional wastewater system constructed by Mercedes through TWDB project 10029.
M | 6 | Mercedes | 20825 | 800000 | 1988-08-18 | Completed | The construction of a 1.0 MGD wastewater treatment facility adjacent to the City's existing 1.3 MGD plant. Originally permitted as a separate facility, the discharges were eventually combined. TWDB funds were combined with a $960,000 EDA grant.
M | 6 | Mercedes | 71832 | 1265000 | 2005-07-19 | Completed | Lift station #1 & #18: Improvements at two of the City's lift stations. Lift station #18 on the northwest side was expanded to a firm capacity of 244 gpm and the force main replaced and rerouted to eliminate overflows. Lift station #1 at the old WWTP was in poor condition and replaced. Improvements included 1,200 feet of 18-inch gravity line, three 1,830 gpm submersible pumps, and 6,700 feet of 12-inch force main.
M | 6 | Mercedes | 72126 | 17278802 | 2009-09-17 | Completed | Rehabilitate and expand the City's WWTP from 2.3 to 5.0 MGD and upgrade treatment levels to meet anticipated ammonia nitrogen limits. Replace the head works, overhaul both oxidation ditches and add brush aerators, rehabilitate both clarifiers, add a third clarifier, expand chlorination facilities, add a sludge belt press, and upgrade pump stations, piping, electrical and control systems. Funds were also used to rehabilitate and/or replace 19,000 feet of 12 to 18-inch sewer line and five lift stations; install an emergency generator at the WWTP; and install a SCADA system to monitor the WWTP and 26 lift stations.
M | 6 | Mercedes | 73642 | 4650000 | 2012-08-16 | Completed | Project Description: The City proposes to rehabilitate around 50,000 linear feet of wastewater collection lines, four lift stations, and numerous manholes to address the I/I issue.
M | 6 | Military Highway WSC | 10284 | 774000 | 1998-06-18 | Completed | Construct a wastewater collection system to provide first time service for the South Tower Estates subdivision south of Alamo. The system includes 18,500 feet of gravity line with 38 manholes, a lift station and 275 connections. The project was planned by the City of Alamo under an EDAP planning grant (project # 10030). It became part of a larger $4.2 million project called the South Alamo Sewer Collection and Treatment Project, and was funded predominantly by the USDA's Rural Utilities Service. Flow from South Tower Estates and surrounding areas is treated at MHWSC’s Balli Road WWTP.
M | 6 | Military Highway WSC | 21376 | 99868.24 | 2000-03-09 | Completed | The construction of an emergency interconnection for the WSC's Alamo system (PWS 1080234) with the City of Pharr. The interconnection consists of 7,000 feet of 10-inch line along FM 3072 from Stewart Road to a water vault and master meter at the intersection of FM 3072 and I Road east of the Las Milpas area.
M | 6 | Mission | 00914 | 389203 | 1972-06-09 | Completed | New collection facilities to extend wastewater service to unserved areas within the City. The East End lines provided service to approximately 200 homes and a school within the Sharyland ISD.
M | 6 | Mission | 01516 | 3075811 | 1984-06-20 | Completed | Rehabilitate the City's 1962 trickling filter treatment plant, construct a parallel 2.40 MGD oxidation ditch treatment plant, and construct a relief interceptor system to serve development in the eastern portion of the City. The existing plant was derated to 1.10 MGD, making design capacity 3.50 MGD at secondary (20/20) treatment levels. Linework included 11,200 feet of 10 to 21-inch line, 5,500 feet of 15-inch force main, and a 3.25 MGD lift station.
M | 6 | Mission | 10023 | 4803933 | 1995-02-16 | Completed | Madero & Granjeno: Construct facilities to provide first time wastewater service to the communities of Madero and Granjeno south of Mission. Individual septic tanks or pit privies serving residences were out of compliance with Texas Department of Health standards. The Madero portion of the project included 15,100 feet of 6 to 12-inch gravity sewer, a lift station, and 9,800 feet of 10-inch force main to connect to the City's WWTP. The Granjeno portion consisted of 6,400 feet of small diameter gravity sewer, a lift station, and 16,000 feet of 6-inch force main. Funds were also used to replace the 1962 trickling filter unit at the WWTP with a 2 MGD activated sludge train, and increasing overall capacity to 4.4 MGD. Funds were also used to purchase the water system serving the project area from the Sharyland WSC.
M | 6 | Mission | 10200 | 32111986 | 2002-05-15 | Completed | NW Mission wastewater system: Modify and expand the City's wastewater treatment plant from 4.6 to 9.0 MGD, rehabilitate and expand the City's interceptor system, extend collection facilities to provide first time service to many subdivisions on the north side, connect residences, and decommission existing on-site systems. At the WWTP construct a new plant lift station, headworks structure, aeration basins, clarifiers, and ultraviolet light disinfection system. Collection facilities included more than 190,000 feet of gravity sewer line, three new lift stations, modifications to three other lift stations, and 59,000 feet of force main. The new service area is centered around and includes the City of Palmhurst and is bounded on the north and south by Mile 4 and Mile 2 Roads, and on the east and west by Taylor and Bentsen Palm Roads. Water service in this area is provided by the Sharyland WSC.
M | 6 | Mission | 10321 | 25000 | 1999-06-16 | Completed | A Colonia Assistance and Management Support Program (CAMSP) grant. The program was developed and is funded by EPA to assist communities administrate colonias projects. TWDB administers CAMSP funds in Texas.
M | 6 | Mission | 10439 | 569000 | 2013-12-05 | Active | Project Description: The City has requested financial assistance through the Economically Distressed Areas Program (EDAP) to carry out planning, acquisition and design services to extend wastewater services to serve twenty three (23) colonia areas located northwest of the City. During the planning phase, the City will evaluate wastewater collection system alternatives and determine the most cost-effective option to serve the colonia areas. The City expects wastewater discharge from the project area to be transported and treated at it's existing wastewater treatment plant.
M | 6 | Mission | 61740 | 7780000 | 2009-10-15 | Completed | Expand the City's North Water Treatment Plant from 11.5 to 17.5 MGD. Improve the canal-to-reservoir connection and add two new raw water pumps, a primary rapid mix facility, two solids contact reactor clarifiers, a four-cell automatic backwashing filtration system, three water transfer pumps, two high service pumps, sludge lagoons, an emergency power supply, and associated piping and site grading. The expansion increased system capacity to 25.5 MGD, accommodating expected population growth to the year 2016 and the retirement of some of the older treatment units at the City’s Downtown WTP. The City obtains Rio Grande River water through the United Irrigation District canal system.
M | 6 | Mission | 73708 | 16140000 | 2015-03-26 | Active | Project Description: The City is requesting funding for planning, design, and construction to expand its WWTP from 9.0 MGD to 13.5 MGD. The proposed project will also include the construction of a minimum 2.0 MGD Type 1 effluent reuse system. The City plans to land-apply the effluent at its golf course and park.
M | 6 | North Alamo WSC | 10042 | 1685186 | 1993-11-18 | Completed | Build a new wastewater collection and treatment system to serve the community of La Sara in western Willacy County. The system includes approximately 23,200 feet of 8-inch, 1,300 feet of 10-inch, and 780 feet of 12-inch gravity line, one lift station, 1,500 feet of 6-inch force main, and a 0.09 MGD lagoon-process treatment facility on a 13-acre site northwest of the community. TDHCA funds were used to install service connections and yard service lines. Willacy County sponsored the facility planning phase through TWDB project 10090.
M | 6 | North Alamo WSC | 10251 | 1974552 | 1996-08-15 | Completed | Construct water distribution system improvements in the Doolittle Area northeast of the City of Edinburg. Improvements included 6,000 feet of 6-inch, 28,000 feet of 8-inch, and 35,000 feet of 12-inch diameter water line, 48 fire hydrants, and appurtenances. The area received wastewater service from the City of Edinburg through its TWDB funded Faysville project (10033).
M | 6 | North Alamo WSC | 10274 | 2629395 | 1997-03-20 | Completed | Construct water transmission, distribution and storage facilities to provide new or improved water service to twenty-one subdivisions in the WSC’s service area north of the City of San Juan. Improvements included 20,050 feet of 12-inch line, 51,180 feet of 8-inch line, 91 fire hydrants, and a 500,000 gallon elevated storage tank. Water facilities were planned by the City of San Juan through TWDB project #10032, which provided first time wastewater service to many of the same subdivisions.
M | 6 | North Alamo WSC | 10343 | 742383 | 2001-11-14 | Completed | Construct wastewater collection facilities to provide first time service to four subdivisions west of the community of San Carlos in northwestern Hidalgo County. Using funds from the Community Self Help Program to purchase materials, community residents, with supervision and support from Border Water Works and the North Alamo WSC, installed wastewater collection lines in the Rancho Nuevo, Palma #1, Palma #2, and Towne East subdivisions. Improvements included 16,000 feet of 6 to 12-inch pipe, 45 manholes, 234 lateral lines, and septic tank decommissioning. Wastewater is treated at North Alamo's San Carlos WWTP.
M | 6 | North Alamo WSC | 10430 | 10954000 | 2014-11-06 | Active | Project Description: The North Alamo Water Supply Corporation (Corporation) is requesting funding to complete the construction phase of a project to provide first-time sanitary sewer service to six (6) colonia areas. The project involves construction of a 0.5 MGD wastewater treatment plant and gravity collection system to serve an estimated 471 homes in the six colonia areas. The Corporation has completed the necessary planning and design activities.
M | 6 | North Alamo WSC | 10445 | 1568000 | 2014-12-11 | Active | Project Description: The Corporation requests funding to conduct planning, acquisition and design for a wastewater collection and treatment system to serve the ten Colonia areas.
M | 6 | North Alamo WSC | 21359 | 523950.26 | 1999-07-14 | Completed | A project to construct emergency interconnections with the Cities of Lyford, Raymondville, Sebastian, Edcouch, Elsa, La Villa, and Mercedes. In all cases except Mercedes, North Alamo is the water provider. Each project includes waterline, a master meter, a pressure sustaining valve, two gate valves, a meter vault, and miscellaneous fittings. Specific project descriptions are included in the Board Item Summary. Water systems that obtain supplies through irrigation districts are at risk during drought because their draws are a small fraction of the irrigation component and can be lost in transit.
M | 6 | North Alamo WSC | 21496 | 345791.15 | 2003-02-19 | Completed | Construct 17,000 feet of earthen canal to bypass the eastern portion of Delta Lake to eliminate excessive water loss. Water for the North Alamo WSC service area in northeastern Hidalgo and Willacy Counties and for the Cities of Raymondville and Lyford in Willacy County is drawn from the Rio Grande River by the Delta Lake Irrigation District and transported to the southeastern corner of Delta Lake through a series of pipelines and canals. Extended drought, evaporation, and seepage threatened the continued maintenance of the eastern basin of Delta Lake as a functional reservoir. The project included a new NAWSC inlet structure at the lake’s inlet and a canal running along the eastern shore of the lake. The project is estimated to add 5,000 to 7,000 acre-feet of water per year to available supplies.
M | 6 | Olmito WSC | 10017 | 6607968.98 | 1995-05-18 | Completed | Construct a new wastewater collection and treatment system to provide first time service for the communities of Olmito and El Gran Tesoro. The system includes 72,000 feet of gravity sewer, eight lift stations, 40,000 feet of force main and a 0.75 MGD constructed wetlands treatment facility.
M | 6 | Olmito WSC | 10377 | 2370607.13 | 2010-09-23 | Completed | Construct wastewater collection facilities to extend first time service to four areas – California Road, Abelardo Road, Lomax/Meyers/FM 803, and Longhorn/SH 100. Facilities included two new lift stations, 16,800 feet of 8 and 12-inch gravity line, 4,800 feet of 6-inch force main, connections and septic tank decommissioning. The project added 117 customers to the system. The WSC provides wastewater service to approximately 1,400 residential homes.
M | 6 | Olmito WSC | 21729 | 2760000 | 2013-04-18 | Completed | Project Description: The Corporation is applying for funds to complete a water system improvements project. The proposed project includes a new water storage tank and rehabilitation of existing water storage tanks. Additionally, the project involves refinancing debt associated with a previous water rights purchase.
M | 6 | Pharr | 00397 | 193980 | 1966-03-01 | Completed | Construction of a 1.0 MGD trickling filter wastewater treatment plant to replace and augment existing facilities. Components of the existing plant, including an Imhoff tank, were originally constructed in 1926. Completed in 1969, the trickling filter was expanded to 2.0 MGD in 1974.
M | 6 | Pharr | 10028 | 26682143.1 | 1997-03-20 | Completed | Construct facilities to improve water service and provide first time wastewater service to many areas in the City's ETJ including the Las Milpas area, and expand storage and treatment systems to accommodate increases in demand. An initial round of funding in 1994 provided 60,000 feet of 4 to 12-inch diameter water line, added a 500,000 gallon elevated storage tank in the Las Milpas area, expanded the City's surface water treatment plant (SWTP) by 4 MGD; and added 42,000 feet of 6 to 15-inch gravity sewer line, 2 lift stations, 8,000 feet of force main. A second round of funding in 1997 was used to add water lines and a 2,000,000 gallon storage tank, increase the ongoing SWTP expansion to 5.0 MGD, add a 24-inch water line to loop the water system, and expand the City’s wastewater treatment plant to 4.5 MGD by replacing older trickling filter units.
M | 6 | Pharr | 10446 | 3496880 | 2014-11-06 | Completed | Project Description: The City proposes to purchase 1,500 acre feet of surface water rights that have recently become available from a willing seller.
M | 6 | Pharr | 20829 | 5433760 | 1987-07-16 | Completed | Renovate and expand the City's 2 MGD trickling filter wastewater treatment plant – replace the influent lift station and head works; replace recirculation, final clarifier, and sludge pumps; and construct a parallel 1.5 MGD oxidation ditch treatment train. Rehabilitate five lift stations and an interceptor sewer on "I" Road. Funds also allowed the City to purchase the water system serving the Las Milpas area from the Military Highway Water Supply Corporation. The system included raw water intake pumps, a 2 MG terminal reservoir, two sedimentation/filtration units with a rated capacity of 0.648 MGD, ground storage tanks, service pumps, a booster pumping station, and the distribution system.
M | 6 | Pharr | 61107 | 13310000 | 2005-11-15 | Completed | Need: The City of Pharr needs to construct water system improvements in order to comply with requirements of the Safe Drinking Water Act including water system pressure. Project Description: The City proposes to expand its water treatment plant from 10 MGD to 15 MGD. The expansion will be constructed adjacent to the existing 10 MGD plant and it will include additional raw water pumps, a new aerated rapid mix basin, two new clarifiers, a new 1.0 MG ground storage tank, and sludge handling facilities. The expansion is planned to provide sufficient water treatment capacity until the year 2020.
M | 6 | Pharr | 62538 | 12406688 | 2013-02-28 | Active | Project Description: The City of Pharr is proposing the construction of a 9,300 LF 20-inch water transmission main from the water treatment plant to the Expressway Elevated Storage Tank, a 7,350 LF of 16-inch water transmission main that extends further to the LBJ Elevated Storage Tank, a 3,600 LF 12-inch water transmission main extending between Sugar Road and US Highway 281 along Eldora Road, and a new elevated water storage tank to be located along Eldora Road.
M | 6 | Pharr | 72021 | 29000000 | 2005-11-15 | Completed | The City of Pharr proposes to expand its current wastewater treatment plant from a 5.0 mgd capacity to 10.0 mgd. The expansion will be constructed adjacent to the existing wastewater plant. Additional work includes the abandonment of 23 deficient lift stations and construction of approximately 110,000 linear feet of sanitary sewer trunk lines to replace existing deteriorated and undersized lines. No new areas are to be served as a result of this collection system upgrade. The wastewater treatment plant expansion is planned to provide sufficient treatment capacity until the year 2020.
M | 6 | Port Mansfield PUD | 20854 | 811125 | 1976-03-31 | Completed | Construction of a new wastewater collection and treatment system to provide first time service to the community. The treatment plant is a 0.221 MGD oxidation ditch with a clarifier, chlorine contact chamber and sludge drying beds.
M | 6 | Port Mansfield PUD | 62644 | 200000 | 2014-11-06 | Completed | Project Description: The District is requesting Drinking Water State Revolving Funds (DWSRF) Very Small Systems funding to carry out emergency repairs to its 200,000 gallon elevated storage tank. Funds will be used for structural repairs of the tank and replacement of appurtenances. The repairs will also include the application of a protective coating to the steel on the inside and outside of the tank to prevent further corrosion damage.
M | 6 | Port Mansfield PUD | 62649 | 600000 | 2014-12-11 | Active | Project Description: The District is requesting Drinking Water State Revolving Fund (DWSRF) to replace its three (3) ground storage tanks with a single 350,000 gallon ground storage tank. In addition, the District plans to replace the two (2) corrosion-damaged high service pumps and associated piping. These improvements, along with other improvements planned by the District, will help improve its water system and come into compliance with TCEQ drinking water requirements.
M | 6 | Primera | 10250 | 10173023.26 | 2004-10-26 | Completed | Construct a wastewater collection system to provide first time service for Primera and the residents of Eggers, a subdivision outside the City. The system replaced improperly constructed, poorly maintained private on-site systems. Flow is transferred by force main to the City of Harlingen for treatment. The system consists of 75,000 feet of line, 10 lift stations, and 46,000 feet of force main. The cost of the nine mile force main to Harlingen was shared with the Town of Combes (project 10246).
M | 6 | Raymondville | 00520 | 99320 | 1969-04-24 | Completed | Construction of a new 1.0 MGD contact stabilization wastewater treatment facility to replace existing means of disposal. The plant included an on site lift station and sludge drying beds, but did not include other components normally associated with the process such as an aerobic digester. The City utilized $200,000 in general obligation bonds and $300,000 in revenue bonds sold to the U.S. Department of Housing & Urban Development.
M | 6 | Raymondville | 60596 | 3030000 | 2001-08-15 | Completed | Construct a new 4.5 MGD water treatment plant to replace the City's deteriorated 1934 facility. The Border Environmental Infrastructure Fund, administered by the North American Development Bank, will contribute $4.2 million in assistance. The project includes a new booster pumping station and 3,000 feet of 16-inch water pipeline. The new plant will reside on 30-acres of City owned property where the existing raw water storage reservoirs are located.
M | 6 | Raymondville | 62601 | 3800000 | 2013-09-19 | Active | Project Description: The City is proposing to construct one public water supply well and a 2.0 million gallon per day reverse osmosis treatment facility to address the need for additional water supplies for their customers. The City is also rehabilitating an existing water well to public drinking water standards, through the use of Texas Department of Agriculture funding, for use as additional supply for the proposed reverse osmosis treatment system. As part of the proposed project, the City will replace approximately 4,500 feet of deteriorated water distribution lines to address water losses.
M | 6 | Raymondville | 72342 | 1365000 | 2009-12-17 | Active | Funds were used to conduct a sanitary sewer evaluation study (SSES) to identify areas of the collection system that contribute extraneous flow (infiltration and inflow) to the City’s wastewater treatment plant. Remaining funds are being used to rehabilitate or replace portions of the system identified by the SSES using trenchless methods such as cured in-place pipe, pipe bursting, and point repairs; and manhole rehabilitation using cementitious mortar and epoxy.
M | 6 | Rio Grande City | 10044 | 1135607.64 | 1995-10-19 | Completed | Las Lomas Colonia: Improve water service and provide first time wastewater service to the Las Lomas area southeast of the City. Water improvements included a 1,000 gpm booster pumping station, 45,000 feet of 4 to 8-inch water line, a 590,000 gallon standpipe, a 46,000 gallon ground storage tank, and the replacement of motors, pumps, valves, and other equipment at the water treatment plant. New wastewater service was provided by 40,000 feet of 6 to 10-inch sewer line, renovation of the primary lift station at the WWTP, and a new lift station. The USDA Farmer's Home Administration provided $1,976,000 in grants and loans.
M | 6 | Rio Grande City | 20847 | 418000 | 1968-02-22 | Completed | Bonds were used to refund $208,000 outstanding closed lien bonds. The balance was used to supplement a $1,049,600 EDA grant for the construction of intake facilities, pump station, treatment plant and pipeline to improve the City's water supply.
M | 6 | Rio Grande City | 20848 | 1557178 | 1973-08-20 | Completed | Replace the City's wastewater treatment facility with a 1.5 MGD oxidation ditch. Treatment facilities included a lift station, bar screen, grit removal unit, two oxidation ditches operated in parallel, a single clarifier, a chlorine contact chamber, and sludge drying beds.
M | 6 | Rio Grande City | 20849 | 600000 | 1989-03-16 | Completed | TWDB funds were used to refund two Farmers Home Administration loans, originally issued in 1979 and 1981.
M | 6 | Rio Grande City | 20851 | 2310000 | 1992-05-21 | Completed | Extend the City wastewater collection system to unsewered areas (approximately 900 homes) including the Los Olmos and Garza Salinas areas, reconstruct two lift stations, relocate one lift station, and upgrade the wastewater treatment facility to 1.38 MGD.
M | 6 | Rio Grande City | 61261 | 20900000 | 2006-11-14 | Completed | Surface water treatement plant: Construct a 6.0 MGD surface water treatment plant to replace the City’s existing 3.5 MGD plant. The new plant includes a Rio Grande River intake and pump station, conveyance line, raw water holding basins, an integrated treatment structure, a 1,000,000 gallon clear well, a high service/backwash pump station, sludge lagoons, and administration, chemical, chlorine, and electrical buildings. Water production capacity was less than the minimum 0.6 gpm per connection required by TCEQ. The City also supplies treated water to the Rio, El Tanque and El Sauz Water Supply Corporations.
M | 6 | Rio Grande City | 72014 | 2885000 | 2006-12-12 | Completed | Collection system extension: Construct wastewater collection facilities for residents of Rio Grande City and the Rio WSC who are currently served by individually owned on-site systems. The City also anticipates providing service for residents of El Tanque WSC, and with a separate system, residents of El Sauz WSC. The City will use $8,700,000 in grant and loan funding from the Border Environmental Cooperation Commission (BECC). The project will add approximately 1,165 wastewater connections to the City’s wastewater system.
M | 6 | Rio Grande City | 73644 | 1930000 | 2013-07-18 | Active | Project Description: The City of Rio Grande City is proposing to rehabilitate seven lift stations within their collection system known as Solis, BBVA Motor Bank, Walmart, V.F.W., Garza/Solis, Garcia's, and Bluebonnet. A preliminary assessment indicates improvements will include all new pumps, motors, piping, valves, electrical panels with transfer switches for portable generators, wet well rehabilitation, SCADA, and fencing.
M | 6 | Rio Grande Valley PCA | 00791 | 297929 | 1972-07-10 | Completed | The construction of a 0.49 MGD oxidation ditch wastewater treatment facility to replace the City's existing facility - a 0.12 MGD Imhoff tank followed by oxidation lagoons. In the 1970s the RGVPCA operated treatment facilities for the Cities of Elsa, Edcouch, Alamo, and San Juan.
M | 6 | Rio Hondo | 01941 | 262841 | 1989-09-28 | Completed | Replace the City's 0.15 MGD wastewater treatment facility with a 0.40 MGD extended aeration activated sludge plant. The existing lagoon system was originally constructed in 1950. Additional funding was provided by the Farmers Home Administration.
M | 6 | Rio Hondo | 10160 | 475506 | 1997-06-19 | Completed | Construct a water line to provide service to the Bullis Subdivision south of the City, and wastewater lines to provide first time service to four subdivisions including Bullis, Jones Addition, Lopez Subdivision, and West Addition. Water improvements included 3,170 feet of 8-inch diameter line. Wastewater additions included 6,400 feet of 8 and 10-inch gravity sewer line and one lift station.
M | 6 | Rio Hondo | 62600 | 10151676 | 2015-12-14 | Active | Description: A previous commitment provided emergency funding to purchase push water from the Cameron County Irrigation District #2, install an emergency raw water interconnect with the Harlingen Irrigation District, and replace an existing elevated storage tank. In addition, the commitment provided funding for the planning, acquisition, and design of needed improvements, including: rehabilitation of the City's existing water treatment plant; replacement of approximately 18,000 linear feet of water lines; and city-wide water meter replacement. This commitment will provide construction funding for rehabilitation work at the water treatment plant, replacement of approximately 750 manual reading meters with an automatic meter reading system, and replacement of approximately 2,500 linear feet of distribution lines. The scope of this construction project was limited to the amount of the construction financing the City could support at this time.
M | 6 | Rio WSC | 10242 | 52131.24 | 1997-04-17 | Completed | Funds were provided to plan improvements and upgrades to the booster pumping station on Hernandez Road and water lines leading to and away from the station. The WSC provides water service to unincorporated areas on both sides of U.S. Highway 83 from east of Rio Grande City to the western limits of Roma. The WSC purchases treated water through a master meter from Rio Grande City.
M | 6 | Roma | 01313 | 602804 | 1979-06-28 | Completed | Replace the City's Imhoff tank and oxidation pond treatment facility with a 0.325 MGD oxidation ditch wastewater treatment plant, and upgrade two lift stations.
M | 6 | Roma | 10043 | 37339875 | 2005-05-17 | Completed | Water & wastewater system expansion: Improve and expand water and wastewater infrastructure to serve the City's ETJ and CCN areas, which extend approximately five miles east and west along US 83. Purchase 2,060 acre feet of municipal water rights, expand the raw water intake and water treatment plant from 1.5 to 5.15 MGD, construct 55,000 feet of transmission line east and west of the City, construct a 300,000 gallon elevated storage tank near Garceno, upgrade the booster pumping station near Escobares, and add 25,000 feet of distribution main. Construct a 2.00 MGD wastewater treatment plant in two stages on the existing site and collection facilities in 4 phases. New line work extended service to 2,764 new customers and included 300,000 feet of line and nine lift stations. Funding from TWDB programs served 44 out of 68 economically distressed areas identified in the original 1996 facilities plan. Funding from the USDA Rural Development and the State Office of Rural Community Affairs improved or provided service for an additional 16 areas. North American Development Bank funds provided transitional assistance, service connections, and a SCADA system.
M | 6 | Roma | 10350 | 5385999.79 | 2005-11-15 | Completed | Water distribution system upgrades: Upgrade the City’s water distribution system to correct deficiencies, increase pressure, and provide capacity for projected population growth. Replace approximately 50,000 feet of undersized water line with 3 to 14-inch diameter pipe, install 66 flush valves and 113 fire hydrants, and upgrade storage facilities at four booster stations: High School, San Julian, North Garceno, and La Rosita.
M | 6 | Roma | 10364 | 5064596.71 | 2008-05-27 | Completed | SB 1421 wastewater improvements: Construct wastewater collection facilities to provide first time service in the following areas: Old Roma, Mirasoles, Las Flores, San Julian, Rivera, Campo Verde, Hilltop, Rancho Viejo, El Cenizo, and North Ridge. Facilities included 38,000 feet of 6 to 12-inch gravity sewer, three lift stations, and 3,250 feet of 4-inch force main. The areas were not eligible for EDAP when project 10043 was funded and the occupancy requirement was 80%, but became eligible in 1999 with the passage of SB 1421. Water service for these areas was provided through projects 10043 and 10350.
M | 6 | Roma | 20852 | 100000 | 1969-05-09 | Completed | TWDB funds and a $365,000 Economic Development Administration grant were used to improve and extend the City's water system.
M | 6 | Roma | 20853 | 700000 | 1987-11-19 | Completed | Expand the City’s surface water treatment plant from 1 to 2 MGD and purchase of 406.25 acre-feet of water rights. The project benefited from a $600,000 Economic Development Administration grant, a $271,000 Texas Department of Community Affairs block grant, and $60,000 in City funds. The City’s water system also serves the unincorporated communities of Fronton, Escobares, Garceno, Rosita, Los Barreras, and Remolino along U.S. Highway 83.
M | 6 | San Benito | 01289 | 1342416 | 1985-05-10 | Completed | Rehabilitate and expand the City's lagoon treatment facility to 2.16 MGD. The existing facility, originally constructed in 1955, consisted of a surge tank and five oxidation ponds. In 1977 the City, under enforcement by the State for significant violation of their secondary permit limits, converted the fifth pond into a water hyacinth pond. Encouraged by the experiment, this project renovated and expanded existing facilities into 3 facultative lagoons, 4 stabilization ponds, and 14 water hyacinth basins with a transfer pumping station and a basin drain pumping station. The facility was permitted for modified secondary (30/30) treatment levels.
M | 6 | San Benito | 10018 | 1774195 | 1998-01-15 | Completed | Expand City utilities to provide first time water and wastewater service to residents of the Leal Subdivision, El Camino Angosto Subdivision, and areas along Yost Road, Pennsylvania Avenue, and East Stenger Street. Water system additions included 33,700 feet of 8 to 12-inch line and 148 new service connections. Funds were also used to purchase Military Highway WSC facilities serving 114 connections to the south and southwest of the City. Wastewater additions included 20,200 feet of 8 to 12-inch line, 15,100 feet of force main, four new lift stations and the upgrade of a fifth.
M | 6 | San Benito | 21381 | 421892 | 2000-03-09 | Completed | Construct an emergency water interconnection with the City of Harlingen. The project consists of a 16-inch water line, an 8-inch circulation line, a master meter, a meter vault, gate valves and miscellaneous fittings along Hale Road and Shafer Road on the northwest side of San Benito. In developing the interlocal agreement it was determined that to have an adequate supply San Benito would either have to construct more storage capacity, or rely on Harlingen's ability to deliver water on a 24-hour basis. Harlingen had just completed a new 10 million gallon storage facility but did not have the pumping capacity to provide continuous service for San Benito. The original commitment was increased by $120,450 on 6/21/2000 to add a pump to the Harlingen Water Works pump station.
M | 6 | San Juan | 00915 | 126705 | 1972-06-09 | Completed | Wastewater treatment improvements. The City's wastewater treatment facility was constructed in 1963 and consisted of four stabilization ponds with a total surface area of 11.5 acres. The City's original Imhoff tank, constructed in 1928, was taken out of service in 1973. It is not clear exactly how grant funds were involved but in the mid-1970s, with participation (ownership?) by the Rio Grande Valley Pollution Control Authority, the City installed a 20 HP floating surface aerator, divided their easternmost pond into two water hyacinth basins and installed chlorination facilities. Funding was also used to expand the collection system, and included a new First Street lift station to replace a failing Railroad Street lift station. The City issued $425,000 in water works and sewer system revenue bonds in 1973, but it is unclear how they supported these improvements.
M | 6 | San Juan | 10032 | 10582603.09 | 2002-06-18 | Completed | Northside wastewater system: Construct more than 81,000 feet of 8 to 18-inch gravity sewer line, 6 lift stations, and 43,000 feet of force main to provide first time service to twenty-four subdivisions on the City’s north side. Twenty-one of these subdivisions also received new or improved water service from the North Alamo WSC through TWDB project #10274. Funds were also used to expand the City's wastewater treatment plant from 1.15 to 4.00 MGD and upgrade treatment levels from secondary (20/20) to advanced (10/15/3). The Economic Development Administration provided $1,086,228 for WWTP improvements.
M | 6 | San Juan | 10441 | 2555000 | 2017-05-31 | Active | Project Description: The City plans to expand its existing sanitary sewer collection system to provide first time sewer service to approximately 114 existing homes in seven colonia areas. The Project will include the installation of sanitary sewer lines, sewer yard lines, and decommission of existing septic tanks.
M | 6 | San Juan | 20833 | 1400000 | 1982-09-16 | Completed | Expnad the City's surface water treatment plant from 1.2 to 2.7 MGD. The expanded plant included a straight flow sedimentation basin with paddle flocculators, tube settlers, and one mixed media filter. Work also included a new 3,125 gpm raw water intake pump, a concrete 1,000,000 gallon clearwell, and three high service pumps with a combined capacity of 6,350 gpm. Wastewater improvements included 1,350 feet of 15-inch force main, 1,720 feet of gravity outfall sewer, modifications to the Aldrich Park Lift Station, and modifications to the wastewater treatment facility. The barrier between ponds 1 and 2 was removed, and aeration equipment added. The wastewater improvements provided a stop gap between a rapidly growing service area population and the need for permanent improvements (see project 20834).
M | 6 | San Juan | 20834 | 2588543 | 1989-08-17 | Completed | Construct a new 1.15 MGD Carrousel oxidation ditch treatment plant to replace the City's overloaded stabilization pond system. Work included collection and conveyance lines to provide first time service to three subdivisions north of the City: Small, Small #2, and Santa Fe (Salazar). Facilities included 9,330 feet of 8-inch, 880 feet of 10-inch, 2,380 feet of 12-inch, and 1,910 feet of 15-inch gravity line, a new lift station, and 1,625 feet of 8-inch force main. Work also included replacement of the City's Aldrich Park lift station, a deteriorated and undersized facility constructed in 1955.
M | 6 | San Juan | 62530 | 8756308 | 2012-12-06 | Active | Project Description: The City proposes to expand the City's North Water Treatment Plant from 3.5 to 7.0 MGD. This will increase the City's overall treatment capacity from 5.0 to 8.5 MGD. Expansion will include two 1.75 MGD Claricone sedimentation units, gravity filters, a 500,000 gallon clearwell, high service pumps, disinfection, electrical, and other related improvements.
M | 6 | San Juan | 62577 | 8410000 | 2013-01-31 | Active | Project Description: The City is requesting construction funding for the installation of approximately 16,000 linear feet of 16-inch diameter line to transfer treated water from SWTP #2 in the northern part of the City to the ground storage tank at SWTP #1. The line will improve delivery and pressure in the southern part of the City where the majority of the population resides, and provide redundancy for SWTP #1. Funds are also being requested for Planning & Design to install a replacement liner at the SWTP # 2 raw water reservoir.
M | 6 | San Juan | 71812 | 2180000 | 2005-08-16 | Completed | Collection system extensions: Extend wastewater collection service to six colonia areas: an unnamed subdivision along Short Road, Citriana Subdivision, Sunset Estate Subdivisions 1 and 2, Red Barn Subdivision, and Mesquite Acres Subdivision. Work included a new lift station on FM 495 and demolition of the old, rehabilitation of the lift station on Raul Longoria Road, and 16,700 feet of 8, 10 and 18-inch diameter line.
M | 6 | San Juan | 73637 | 445000 | 2012-04-19 | Active | Project Description: Planning and design to rehabilitate and/or replace existing lift stations due to structural, electrical, operational, and capacity issues. The City's existing lift stations will be evaluated during planning to determine if entirely new, larger capacity lift stations should be constructed; if existing lift stations should be rehabilitated; or if flows should be redirected within the system to address operational issues and possible overflow situations.
M | 6 | Santa Rosa | 10016 | 6421083.13 | 2002-09-18 | Completed | Water treatment plant expansion: Expand the City’s surface water treatment facility from 0.695 to 1.002 MGD. Work included a new raw water pump station, a high service pump station, an office/laboratory building, a water treatment plant building and pre-fabricated water treatment train, a backwash wastewater station, a sludge lagoon, a groundwater drain lift station, chlorination facilities, and related items. Originally included in the project but dropped were water/wastewater service to 15 nearby colonias and a water line and reservoir to provide a four day supply when the La Feria Irrigation District’s canal system is unable to deliver water.
M | 6 | Sebastian MUD | 10041 | 2972194 | 1995-05-15 | Completed | Construct a wastewater collection and treatment system to provide first time service for the community of Sebastian. The system included 40,500 feet of 8 to 12-inch gravity line, 540 service connections, a lift station, 2,900 feet of force main, and a 0.29 MGD facultative lagoon treatment system. The Texas Department of Housing & Community Affairs provided $280,000 to install service lines and pay tap fees. The USDA Farmer's Home Administration provided $331,600.
M | 6 | Siesta Shores WCID | 10156 | 723937 | 1996-11-20 | Completed | Purchase and substantially improve a deteriorated privately owned water system serving the District. EDAP funds were used to purchase the system, acquire 165 acre-feet of water rights, and install a new high service pump, a sludge dewatering lagoon, an auxiliary power source, and a 502,000 gallon standpipe. The District used a $1.25 million grant and loan from USDA Rural Development to construct a surface water treatment plant and a 5,500 foot transmission main.
M | 6 | Sol Y Mar WS | 62629 | 200000 | 2014-11-20 | Active | The Sol Y Mar Water System proposes to abandon its water well that contains nitrates above the maximum contaminant limits and connect to the City of San Juan water system for potable water. The proposed project will consist of the installation of approximately 1,335 linear feet of 8-inch water line with meters and service connections to the 29 mobile homes in the project area.
M | 6 | Southmost Regional WA | 61531 | 13090000 | 2009-03-26 | Completed | Project Description: The Authority proposes to construct improvements to the WTP that will address the arsenic levels and expand the capacity of the WTP.
M | 6 | Starr Co S&W CD | 20857 | 200000 | 1989-05-11 | Completed | Funds for the District to serve as a lender to individual ranchers and farmers for the purchase of approved water conservation equipment.
M | 6 | Union WSC | 62539 | 2995875 | 2012-12-06 | Active | Project Description: The Corporation is requesting Pre-Design funding to replace approximately 37,000 linear feet of distribution line and all related appurtenances to address high water loss and frequent line breaks. The project will also involve the replacement all of the system’s water meters with lead-free smart meters, and the installation of an automatic meter reading system.
M | 6 | United Irrigation District | 21483 | 86043.39 | 2002-09-18 | Completed | Prepare a feasibility study to rehabilitate three pumping plants and numerous canals throughout the district. Improvements would reduce diversion requirements by eliminating seepage, spillage, and evaporation and would increase the efficiency of the pumping systems. The District services 32,000 acres of irrigated farms, the Sharyland Water Supply Corporation, the City of Mission, and soon, the City of McAllen. Funds are available through oil overcharge fees collected by the State Energy Conservation Office and deposited in the Water Bank Account.
M | 6 | United Irrigation District | 51030 | 8100000 | 2016-07-21 | Active | The District proposes to construct an off-channel storage facility between its diversion point in the Rio Grande and its first pumping station to better manage pumping of water ordered from the Falcon Reservoir and reduce river losses. The proposed facility will have a storage capacity of 600 acre-feet.
M | 6 | Webb County | 10197 | 70200 | 1997-03-20 | Completed | A Colonia Assistance and Management Support Program (CAMSP) grant. Developed and funded by EPA, the program provides assistance in managing colonia projects. Webb County used the grant to employ a full-time employee to coordinate issues related all colonia projects in the County.
M | 6 | Webb County | 10199 | 920835.24 | 1996-01-18 | Completed | Construct a wastewater collection system for first-time service for the Larga Vista subdivision east of Laredo on State Highway 359. The project consisted of 18,610 feet of 8 to 18-inch gravity sewer main, two new lift stations, 7,500 feet of 8 and 10-inch force main, and improvements to an existing lift station. Flow is conveyed to the City of Laredo's Southside WWTP for treatment. Webb County provided $372,188.
M | 6 | Webb County | 10201 | 31058335.36 | 2007-03-27 | Completed | Provide improved water and wastewater service for the cities of Rio Bravo and El Cenizo south of Laredo. Wastewater facilities included a new 1.50 MGD wastewater treatment plant, conversion of the existing 0.50 MGD plant to a sludge handling unit, 11,800 feet of new interceptor line, and the rehabilitation of 40,600 feet of collection line. Water facilities included a surface water intake, 20,000 feet of raw water transmission line, a new 2.50 MGD treatment plant, 11,800 feet of treated water transmission line, 300,000 and 900,000 gallon storage tanks, the replacement of 88,800 feet of distribution line, and 15,300 feet of 12-inch line to provide a loop bewteen Rio Bravo and El Cenizo. Webb County commited $1,810,000 and the Office of Rural Community Affairs $640,000.
M | 6 | Webb County | 10309 | 55000 | 1998-06-18 | Completed | Continued funding through the Colonia Assistance and Management Support Program for the County's colonia programs coordinator.
M | 6 | Webb County | 10342 | 71250 | 2001-08-15 | Completed | Funds were used to plan water and wastewater services for sixteen unincorporated subdivisions along and near U.S. Highway 59 approximately 20 miles east of the City of Laredo. The County contributed $23,750 in cash and in-kind services, and the Border Environmental Cooperation Commission $95,000.
M | 6 | Weslaco | 00916 | 519518 | 1972-06-09 | Completed | Improvements at the City's wastewater treatment plant. At the time the City operated two sewer systems: a sanitary system serving the City and discharging to a 1.5 MGD trickling filter plant constructed in the early 1950s, and a combined industrial waste and stormwater system that discharged to a 2.0 MGD lagoon system.
M | 6 | Weslaco | 01693 | 1263571 | 1985-04-26 | Completed | Renovation of the City's 1952 trickling filter treatment facility (down-rating its capacity from 1.5 to 1.0 MGD), construction of a new parallel 2.0 MGD oxidation ditch facility, construction of a new plant lift station and headworks, replacement of existing chlorination facilities, and wastewater conveyance system improvements.
M | 6 | Weslaco | 10026 | 9189976.51 | 1995-09-21 | Completed | Construct wastewater collection facilities to provide first time service for subdivisions on the southern perimeter of the City, a new 2.5 MGD South wastewater treatment plant to serve them, and interceptor sewers to allow the partial diversion of flow from the existing (North) treatment facility service area. Collection facilities included 80,000 feet of 6 to 24-inch gravity sewer line, three lift stations, and 32,000 feet of force main. More stringent discharge limits (10/15/3) had made the continued operation of older units at the North WWTP problematic without this significant addition to the City’s overall treatment capacity.
M | 6 | Weslaco | 10295 | 40704 | 1997-12-11 | Completed | Install a wastewater collection system to provide first time service for the Sun Country Estates subdivision northwest of the City. The system includes 4,400 feet of 8-inch line, 2,060 feet of service line, and 86 service connections. The Community Self Help Program project used $40,704 in “sweat equity” from community residents, and a $15,290 grant from the City of Weslaco. Wastewater is conveyed to a City interceptor.
M | 6 | Weslaco | 21497 | 99128 | 2003-02-19 | Completed | The project consisted of 2,640 linear feet of 8-inch waterline, a master meter, a meter vault, gate valves and miscellaneous fittings. The line connected water lines owned and operated by the Cites of Weslaco and Mercedes. It was built adjacent to and within the right-of-way of U.S. Hwy. 83.
M | 6 | Willacy County | 10090 | 56250 | 1991-01-31 | Completed | Regional water supply and wastewater planning for colonias in Willacy County.
M | 6 | Zapata Co WCID - Hwy 16E | 20858 | 760000 | 1990-04-19 | Completed | Construct a new water system to serve rural areas along Highway 16 east of the town of Zapata. The system takes water from an 8-inch Zapata County Waterworks line in eastern Zapata. From the master meter twenty-two miles of 8, 6 and 4-inch transmission line lead to a booster pumping station near the community of Bustamente. The station consists of a a 65,000 gallon ground storage tank, a hydropneumatic tank, and 230 gpm of pumping capacity. Twenty-five miles of 2 and 3-inch distribution main extend in both directions from the pump station. The system terminates 2 miles east of the community of Escobas near the Jim Hogg County line. Funds were also used to purchase 75 acre-feet of water rights from La Feria Irrigation District # 3. Ground water resources in the area are very poor and forced residents to haul water for domestic use.
M | 6 | Zapata County | 01291 | 981748 | 1980-02-06 | Completed | Replace the County’s 1952 trickling filter wastewater treatment facility with a 0.80 MGD oxidation ditch WWTP. Also replace the primary interceptor line serving the WWTP, and provide first time wastewater service to a subdivision of approximately 350 people served by septic tanks.
M | 6 | Zapata County | 61275 | 14808000 | 2006-04-18 | Completed | Construct a new surface water treatment plant to increase capacity from 3.24 to 7.00 MGD. The plant includes two pretreatment clarifiers, a membrane filter and building, a clear well, a chemical building and storage facilities, a transfer pump station, a high service pump station, an office building, a laboratory, and yard piping. Old SWTP structures were demolished. Also construct a new 6,900 foot 24-inch diameter raw water transmission line from Falcon Lake, and a 4,500 foot 16inch diameter transmission line on the north side of Zapata. The old plant was undersized and had difficulty meeting water quality standards. Substantial portions of the treatment and transmission system were approaching 50 years of age and inadequate to maintain minimum operating pressures.
M | 6 | Zapata County | 72123 | 6415000 | 2007-05-22 | Active | Project Description: The Zapata County Water Works proposes the rehabilitation and expansion of its existing wastewater treatment plant and the expansion of its wastewater collection system to serve these areas.